## Sheet1
Location # | Type | Size | Location | Barcode | Serial Number | Pass Y/N | < 5ft Y/N | Date Inspected | Initials
WMP1-01 | ABC | 10LBS | Suite 112 WDC south hall by to mammography | 761834 | I17714807
WMP1-02 | ABC | 10LBS | Suite 112 WDC west hall by medical records | 761835 | I17707053
WMP1-03 | ABC | 10LBS | Suite 112 WDC north hall next to break room | 761836 | I1769203
WMP1-08 | ABC | 10LBS | Suite 112 WDC outside new CT scan | 411846 | AU462751
WMP1-04 | ABC | 10LBS | Suite 104 Dr Barnes office front hall | 761374 | G16810008
WMP1-05 | ABC | 10LBS | Suite 104 Dr Barnes office front hall | 761382 | G16807127
WMP1-09 | ABC | 10LBS | Lobby across from elevators | 281919 | F72245478
| ABC | 10LBS | 2nd landing of Stairwell by Elev# 16 | 761498 | G15033649
| ABC | 5LBS | Chapel | 761512 | F88840430
| ABC | 5LBS | Across from suite 200 | 761379 | G16812983
| ABC | 10LBS | Suite 202 btw rm 4 &5 | 761522 | F70333257
| ABC | 10LBS | Suite 202 by lab | 761521 | F88840454
| ABC | 5LBS | Suite 204 by ultrasound | 761837 | I15995067
| ABC | 10LBS | Suite 206 | 761418 | F88842270
| ABC | 5LBS | Suite 214 records | 761519 | F72245537
| ABC | 10LBS | Suite 214 break room | 761520 | XR506075
| ABC | 10LBS | Across from Suite 214 | 761376 | G-16812984
| ABC | 10LBS | Suite 210 at lobby door | 761625 | F70313778
| ABC | 10LBS | Suite 210 at lab | 411595 | BP698374
| ABC | 10LBS | Suite 210 Break room | 411514 | F72245555
| ABC | 10LBS | Suite 302 Rear Hall | 761501 | G15005489
| ABC | 10LBS | Suite 302 By Restroom | 761417 | F88829005
| ABC | 10LBS | 3rd by suite 310 | 761375 | G16810516
| ABC | 10LBS | 3rd by suite 302 | 761383 | G16809093
| ABC | 10LBS | Suite 302 back hall | 761415 | F88829993
| ABC | 5LBS | Suite 310 breakroom | 761535 | G31902918
| ABC | 10LBS | Suite 310 by rm 3 | 761517 | F72245518
| ABC | 10LBS | Suite 310 by lab | 761518 | F72245535
WMP3-01 | ABC | 10LBS | Suite 300 Case management/Addmissions | 761838 | I27706964
| ABC | 10LBS | 4th by stair 17 | 761378 | G16810515
| ABC | 10LBS | 4th by suite 405 | 761377 | G16812987
| ABC | 10LBS | Suite 410 | 761414 | F88830930
| ABC | 10LBS | Suite 402 exam rm 11 | 761537 | E71295841
| ABC | 10LBS | Suite 402 by Dr Taylor | 761536 | E71295842
| ABC | 10LBS | Suite 402 by acct management | 761538 | E71295822
| ABC | 5LBS | Suite 402 by rm 3 | 281820 | AF72245485
WMP5-01 | ABC | 10LBS | Suite 502 PAT admission desk | 761657 | F44671089
WMP5-02 | ABC | 10LBS | Suite 502 PAT backhall | 761422 | F88833514
| ABC | 10LBS | 5th by suite 508 | 761380 | G16807129
| ABC | 10LBS | 5th by suite 508B | 761373 | G16807105
| ABC | 10LBS | Suite 508 reception area | 761031 | F96664706
| ABC | 10LBS | Suite 508 records | 761648 | F44671100
| ABC | 10LBS | Suite 508 by rm 8 | 761541 | E71295826
| ABC | 10LBS | Suite 508 corner by rm 12 | 761539 | E71295840
| ABC | 10LBS | Suite 508 lab | 761126 | F59543266
| ABC | 10LBS | Suite 508 by exit sign closet | 761540 | E71295848
| ABC | 10LBS | Suite 508 recovery | 761543 | E71295839
| ABC | 10LBS | Suite 508 by rear exit | 761542 | E71295836
| ABC | 10LBS | Suite 508 back of OR | 761544 | E71295845
WMP6-04 | ABC | 10LBS | Suite 604 kitchen | 761113 | F70314306
| ABC | 10LBS | Suite 604 hallway by kitchen | 761365 | G16810001
| ABC | 10LBS | Suite 604 Exam Room 3 | 761213 | F96657956
| ABC | 10LBS | Suite 604 Hallway to lounge | 761212 | F93817480
| ABC | 10LBS | Suite 600 Front Receptionist area | 761440 | F44671106
| ABC | 10LBS | Suite 600 Middle of back Hallway | 761445 | F44671086
| ABC | 10LBS | Suite 600 Breakroom | 761444 | F44671133
| ABC | 10LBS | Suite 600 Lab area | 761443 | F72245521
| ABC | 10LBS | Suite 600 Rear Door | 761441 | F44671089
| ABC | 10LBS | Suite 600 Kitchen Area | 761659 | F44671091
| ABC | 10LBS | Suite 600 by power panel | 761442 | F44671090
| ABC | 10LBS | Suite 600 across from restroom | 761824 | I17699532
| ABC | 10LBS | Suite 600 outside exam rm 3 | 761825 | I17706466
| ABC | 5LBS | 6th by stair 17 | 761660 | G21329070
| ABC | 5LBS | 6th by elevator lobby | 761121 | F59543263
| ABC | 5LBS | 6th by suite 604 | 761301 | G13245590
| ABC | 5LBS | Suite 604 by lobby entry | 761212 | F93817420
| ABC | 5LBS | Suite 604 by lab | 761213 | F96657956
| ABC | 10LBS | 7th mechanical room | 761623 | F44671108
| ABC | 5LBS | 7th elevator lobby | 761596 | F44671132
| ABC | 5LBS | 7th by stair 18 | 761385 | G13245592
| ABC | 5LBS | 7th by suite 700 | 761362 | G13245274
| ABC | 10LBS | Suite 700 reception area | 761207 | F72245559
| ABC | 10LBS | Suite 700 urine test area | 761208 | F72245572
| ABC | 10LBS | Suite 700 by cabinets/IUD display | 761209 | F72245501
| ABC | 10LBS | Suite 700 corner by vending | 761210 | F72245503
| ABC | 5LBS | Suite 700 breakroom | 761211 | F72245542
| ABC | 10LBS | Suite 710 | 761416 | F88829007
| ABC | 5LBS | Roof Penthouse | 761320 | G13245272