## Sheet1
Location # | Type | Size | Location | Barcode | Serial Number | Pass Y/N | < 5ft Y/N | Date Inspected | Initials
EG-01 | ABC | 10LBS | Gr fl Cancer Center main entrance by soiled utl rm | 761598 | F44671156
EG-02 | ABC | 10LBS | Gr fl Cancer Center hall next to mech rm | 761321 | G16812994
EG-04 | ABC | 10LBS | Gr fl Cancer Center conference room | 761597 | F44671152
EG-05 | ABC | 10LBS | Gr fl mech rm across from Cancer Center at vending |  | F44671165
EG-06 | ABC | 10LBS | Gr fl by East Main elevator | 761569 | F46781819
MHG-07 | ABC | 5LBS | Gr fl Clinical lab core lab | 281823 | G31902898
MHG-07A | ABC | 5LBS | Gr fl Clinical lab by receiving | 281801 | H07166657
MHG-08 | ABC | 10LBS | Gr fl mech rm across from core lab | 761307 | G16809107
MHG-09 | ABC | 10LBS | Gr fl blood bank rm | 761140 | F70314322
MHG-10 | ABC | 10LBS | Gr fl physicians parking by mech rm | 761768 | I17695172
MHG-11 | ABC | 10LBS | Gr fl physicians parking mech rm by phys. Entrance | 761628 | G16810018
MHG-12 | ABC | 10LBS | Gr fl physicians parking air handler room | 761115 | F70303694
| ABC | 10LBS | Gr fl HVAC 6007 | 761699 | E93397384
| ABC | 10LBS | Gr fl Emergency Electrical 6006 | 761703 | F96703811
| ABC | 10LBS | Gr fl Electrical 6005 | 761702 | H26371281
| ABC | 10LBS | Gr fl IDF Room 6004 | 761701 | H20309654
| ABC | 10LBS | Gr fl HVAC 6002 | 761698 | H20321057
| ABC | 10LBS | Gr fl Entrance to Doctors Parking Ground | 761696 | F96703856
MHG-13 | ABC | 10LBS | Gr fl hallway by blood bank | 761570 | E77822753
MHG-14 | ABC | 5LBS | Gr fl hallway at Pathology | 761316 | G13245593
MHG-16 | ABC | 10LBS | Gr fl Pharmacy | 761574 | E77613032
MHG-17 | ABC | 10LBS | Gr fl Pharmacy | 761697 | F44671112
MHG-18 | ABC | 5LBS | Gr fl Pharmacy office | 761760 | I17720543
MHG-19 | ABC | 10LBS | Gr fl central supply storage |  | F44671120
MHG-20 | ABC | 10LBS | Gr fl EVS washroom | 761134 | F70303698
| ABC | 5LBS | Gr fl physicians parking North tower elevator room | 761769 | I17713229
| ABC | 10LBS | Gr fl sterile processing back hall | 761575 | F65799789
| ABC | 10LBS | Gr fl sterile processing dept back door | 761582 | F62645479
| ABC | 10LBS | Gr fl sterile processing by steam 1 | 761581 | F62647545
| ABC | 10LBS | Gr fl sterile processing by back door | 761579 | E77614031
| ABC | 10LBS | Gr fl sterile processing by tools | 761580 | F59187417
MHG-24 | ABC | 10LBS | Gr fl Sterile Processing dirty side exit | 761578 | F62645480
MHG-27 | ABC | 10LBS | Gr fl loading dock by door | 761576 | F46777799
MHG-28 | ABC | 20LBS | Gr fl sterile processing dirty side by riser room | 761577 | F62646818
MHG-29 | ABC | 10LBS | Gr fl main hall by boiler room | 761762 | I17694806
MHG-30 | ABC | 10LBS | Gr fl maintenance shop by uniforms | 411867 | AU462749
MHG-31 | ABC | 10LBS | Gr fl maintenance shop by plumbers shop | 761139 | F70313475
MHG-30A | ABC | 10LBS | Gr fl mech rm by sterile processing (trash hall) | 761584 | E77614030
MHG-31 | ABC | 10LBS | Gr fl by gr fl maintenance shop | 761135 | F59522807
MHG-32 | ABC | 5LBS | Gr fl boiler rm control rm by exit | 761755 | I15995281
MHG-33 | BC | 10LBS | Gr fl maintenance fire panel room | 761758 | I07098503
MHG-34 | BC | 10LBS | Gr fl electrical closet across from Node 3 LTC | 764757 | I07098502
MHG-35 | ABC | 10LBS | Gr fl boiler room bottom of stairs |  | F44671125
MHG-36 | ABC | 20LBS | Gr fl upper boiler room by main elec rm | 761130 | F70312771
MHG-44 | ABC | 10LBS | Gr fl main elec switch gear 03 | 761754 | C94508498
MHG-37 | ABC | 10LBS | Gr fl upper boiler roomexit door to alley |  | F44671153
| K | 10LBS | Gr fl kitchen patient services next to hood sys pull | 761774 | I09863361
| K | 10LBS | Gr fl kitchen prep next to hood systems pull | 761318 | G05670146
| ABC | 10LBS | Gr fl kitchen by double doors | 761571 | F46779136
| ABC | 10LBS | Gr fl kitchen by production managed cooler | 761772 | I17696496
| ABC | 10LBS | Gr fl kitchen by canned soft drink storage | 761771 | I19694808
| ABC | 10LBS | Gr fl retail dietary behind cashiers | 761006 | F46778766
| ABC | 10LBS | Gr fl retail dietary by dining rm double doors |  | F44671115
MHG-05 | ABC | 10LBS | Gr fl kitchen by dairy cooler 4 | 761272 | G16809103
MHG-38 | BC | 10LBS | Gr fl kitchen prep under duct system | 761773 | I09863359
MHG-39 | BC | 10LBS | Gr fl kitchen retail grill next to hood sys pull | 761775 | I09863358
MHG-40 | ABC | 10LBS | Gr fl mechanical room in stair 10 | 761568 | E77739344
MHG-43 | ABC | 10LBS | GR fl Cancer center mechanical room | 281802 | F44671154
MHG-41 | ABC | 10LBS | Gr fl Cancer Center corner mech rm | 281746 | F44671145
MHG-42 | ABC | 10LBS | Gr fl North tower elevator 34/35 lobby | 761770 | I17695175
E1-01 | ABC | 5LBS | 1st fl hall by gift shop | 761296 | G13246834
W1-25 | ABC | 10LBS | East hall next to Neonatal Nurse office near gift shop | 761276 | G16807133
W1-26 | ABC | 5LBS | 1st floor by Chaplain | 281824 | H07164643
| ABC | 5LBS | 1st fl main hall by respiratory therapy | 761566 | F51146696
MH1-75 | ABC | 5LBS | 1st fl respiratory breakroom | 411835 | H07166606
MH1-02 | ABC | 5LBS | 1st fl transportation breakroom | 761677 | G31902893
MH1-03 | ABC | 5LBS | 1st fl hallway by chapel | 281799 | H07164673
MH1-05 | ABC | 10LBS | 1st fl bedshop by chapel | 761277 | G16810010
MH1-82 | ABC | 10LBS | 1st fl anesthesia breakroom | 761744 | I17695173
MH1-06 | water | 10LBS | 1st fl MRI control rm hall | 761563 | F58464870
MH1-07 | ABC | 10LBS | 1st fl cardiology non-invasive hall by rm 3 | 761559 | E77739594
MH1-09 | ABC | 10LBS | 1st fl radiology hall by control rm near CT scan suite | 761141 | F70314307
MH1-10 | ABC | 10LBS | 1st fl MRI hallway | 761742 | I17720548
| ABC | 5LBS | 1st fl ultrasound suite hall | 281826 | F96657955
MH1-11 | ABC | 10LBS | 1st fl ER hall by radiology entry | 761743 | I17696504
MH1-12 | ABC | 10LBS | 1st fl x-ray hallway | 761271 | G16810520
MH1-13 | ABC | 5LBS | 1st fl nuclear med hallway by rm 5 | 761564 | F51141180
MH1-14 | ABC | 5LBS | 1st fl nuclear med hallway by rm 5 | 761565 | F51146694
MH1-15 | ABC | 10LBS | 1st fl ER hall next to room 9 | 761280 | G15022779
MH1-16 | ABC | 5LBS | 1st fl ER hall next to room 4 | 761285 | G13245270
MH1-17 | ABC | 5LBS | 1st fl ER hall next to room 16 | 761323 | F99909375
MH1-18 | ABC | 5LBS | 1st fl ER font hall next to Triage A | 761326 | F99909943
MH1-19 | ABC | 5LBS | 1st fl ER entrance main hall | 761273 | G16812996
MH1-20 | ABC | 10LBS | 1st fl ER hall by MOB B elevators 22/23/24 | 761672 | F44671116
MH1-23 | ABC | 10LBS | 1st fl side exit by entrance to Cath Lab | 761138 | F70312772
MH1-24 | ABC | 10LBS | 1st fl Neurodiagnostics | 761491 | F70303132
MH1-27 | ABC | 10LBS | 1st floor hall leading to Emergency room | 761719 | I17696492
MH1-28 | ABC | 10LBS | 1st floor elevator lobby 4/5 by PACU | 761279 | G15035228
MH1-29 | ABC | 5LBS | 1st floor PACU hall by nurse mananger office | 411809 | G13245589
MH1-30 | ABC | 5LBS | 1st floor PACU hall by bay 4 | 411808 | G31902913
MH1-31 | ABC | 5LBS | 1st floor hall by Pre-Op/CRNA holding rm | 761297 | G32455591
MH1-32 | ABC | 5LBS | 1st floor MOR corridor across OR 6 | 281796 | F59539402
MH1-33 | BC | 5LBS | 1st floor MOR anestesia work room (M-1) | 411989 | H07164690
MH1-34 | ABC | 5LBS | 1st floor MOR corridor across MOR pharmacy | 761721 | H26371269
MH1-35 | ABC | 10LBS | 1st floor MOR corridor by stair 5 | 761663 | F44671141
MH1-36 | ABC | 10LBS | 1st floor MOR corridor by OR 17 | 761664 | F44671150
MH1-37 | ABC | 10LBS | 1st floor MOR corridor by OR 11 | 761665 | F44671146
MH1- | ABC | 5LBS | 1st floor MOR corridor near ice machine/storage | 761631 | F70313785
MH1-38 | ABC | 10LBS | 1st fl sterile supply next to MOR EVS closet | 761666 | F44671151
MH1-39 | ABC | 10LBS | OR hall across from nurses station | 761495 | G-16807130
| ABC | 10LBS | 1st fl MOR elevator mech rm | 761630 | F88861954
MH1-40 | ABC | 5LBS | 1st fl Pre-Op entrance by NS | 761132 | F59543265
MH1-41 | ABC | 5LBS | 1st fl Pre-Op by bay 24 | 761131 | F59540926
MH1-42 | ABC | 5LBS | 1st fl hall by PACU entrance | 761021 | F51146700
MH1-80 | ABC | 5LBS | 1st fl roof mechanical rm. Outside | 761557 | E77739595
MH1-43 | ABC | 5LBS | 1st fl GI lab Post-Op hall by bay 2 | 411800 | G31902940
MH1-44 | ABC | 5LBS | 1st fl GI lab Pre-Op hall by bay 5 | 761045 | E94095895
| BC | 5LBS | 1st fl GI Lab MP-1 procedure rm 120 | 761049 | H33684670
| BC | 5LBS | 1st fl GI Lab MP-2 procedure rm 11 | 761047 | H33685703
| BC | 5LBS | 1st fl GI Lab MP-3 procedure rm 121 | 761048 | H33684640
| BC | 5LBS | 1st fl GI Lab MP-4 procedure rm 109 | 761046 | H33684643
MH1-45 | ABC | 5LBS | 1st fl main hall btw admitting and administration | 761671 | G31902886
MH1-46 | ABC | 10LBS | 1st fl Administration offices hallway | 761731 | I17696490
MH1-47 | ABC | 10LBS | 1st fl Administration hall by rear exit | 761732 | I17694801
MH1-48 | ABC | 10LBS | 1st fl admitting area | 761733 | I17696494
MH1-49 | ABC | 10LBS | 1st fl main hall behind admitting desk | 761556 | F65792779
MH1-50 | ABC | 10LBS | 1st fl main hall by admitting | 761552 | E93397386
MH1-51 | ABC | 10LBS | 1st fl Daily Grind shop in the back | 761284 | G13246831
MH1-81 | ABC | 10LBS | 1st fl giftshop stock room | 411793 | BE842473
| ABC | 10LBS | New PACU electrical room | 761728 | H26371290
MH1-52 | BC | 5LBS | 1st fl MOR 21 | 761171 | H33684634
MH1-53 | BC | 5LBS | 1st fl MOR 20 | 761156 | H33684644
MH1-57 | BC | 5LBS | 1st fl MOR 6 | 761157 | H33684639
MH1-58 | BC | 5LBS | 1st fl MOR 7 | 411749 | H33684636
MH1-62 | BC | 5LBS | 1st fl MOR 12 | 411546 | AB391216
MH1-63 | BC | 5LBS | 1st fl MOR 22 | 411539 | AB391221
MH1-64 | BC | 5LBS | 1st fl MOR 23 | 761161 | F69491696
MH1-65 | BC | 5LBS | 1st fl MOR 24 | 411547 | H33689641
MH1-66 | BC | 5LBS | 1st fl MOR 15 | 411745 | H33684633
MH1-67 | BC | 5LBS | 1st fl MOR 14 | 761172 | F69491781
MH1-68 | BC | 5LBS | 1st fl MOR 12 | 411556 | AB391196
MH1-69 | BC | 5LBS | 1st fl MOR 11 | 761400 | F87311645
MH1-70 | BC | 5LBS | 1st fl MOR 18 | 411543 | AB391236
MH1-71 | BC | 5LBS | 1st fl MOR 17 | 411548 | AB391210
MH1-76 | ABC | 10LBS | 1st fl MOR sterile supply next to OR 23 | 761667 | F44671118
MH1-72 | BC | 5LBS | 1st fl MOR 16 | 411742 | AB391200
MH1-73 | BC | 5LBS | 1st fl MOR 19 | 281688 | H33684673
MH1-74 | BC | 5LBS | 1st fl MOR sterile supply next to entry/exit door | 761720 | I17713725
| ABC | 10LBS | Across from OR 16 | 411750 | F7224547473
| ABC | 10LBS | Across from OR 2 | 761678 | H26371284
| ABC | 10LBS | Storage hall by East Stairwell | 761679 | H26371293
| ABC | 10LBS | OR 1 | 761680 | I02316455
| ABC | 10LBS | OR 2 | 761681 | I02316457
| ABC | 10LBS | OR 3 | 761682 | I02316458
| ABC | 10LBS | Hall by OR 4 | 761638 | H26371285
| ABC | 10LBS | OR 10 | 761684 | I02316445
| ABC | 10LBS | OR 9 | 761685 | I02316446
| ABC | 10LBS | OR 8 | 761686 | I02316456
| ABC | 10LBS | OR 7 | 761687 | I02316451
| ABC | 10LBS | Between OR 6 and 7 in sterile corridor | 761688 | H26371287
| ABC | 10LBS | OR 6 | 761689 | I02316454
| ABC | 10LBS | OR 5 | 761690 | I02316449
| ABC | 10LBS | OR 4 | 761691 | I02316450
| ABC | 10LBS | Outside of 6 on the outside hall | 761692 | H26371239
| ABC | 10LBS | Across from OR 4 outside hall | 761693 | H26371271
| ABC | 10LBS | Outside equipment storage | 761694 | H26371294
| ABC | 10LBS | Outside Sterile Supply by east stairway | 761695 | H26371272
| ABC | 10LBS | 1st fl Cath Lab hall by Cath Lab rm 1 | 761562 | F59184159
| ABC | 10LBS | 1st fl Cath Lab hall by electrical rm | 761561 | E77613028
| ABC | 10LBS | 1st fl Cath Lab hall by EVS closet | 761560 | F59185558
| ABC | 10LBS | 1st fl Cath Lab Hybrid OR control rm | 761734 | I17696513
| ABC | 10LBS | 1st fl Cath Lab Hybrid OR server rm (left) | 761736 | I17717286
| ABC | 10LBS | 1st fl Cath Lab Hybrid OR server rm (right) | 761735 | I17696506
| CO2 | 30LBS | 1st fl Cath Lab Hybrid OR suite | 281848 | H01503810
E2-01 | ABC | 5LBS | 2nd fl 251-269 hall btw rms 251&253 | 761706 | I15998326
E2-02 | ABC | 5LBS | 2nd fl 271-288 hall btw rms 281&283 | 411915 | G21329093
E2-03 | ABC | 10LBS | 2nd fl mech rm West main elevator 6/7 lobby | 761275 | G16807138
MH2-1 | ABC | 10LBS | 2nd fl CVSU rms 235-238 next to exit door | 761330 | G16809100
MH2-02 | ABC | 10LBS | 2nd fl CVSU rms 239-248 btw rms 244&246 | 761710 | I17694814
MH2-03 | ABC | 10LBS | 2nd fl CVSU Recovery by 6 at double exit doors | 761668 | F44671137
MH2-04 | BC | 5LBS | 2nd fl CVSU back entrance | 761726 | I17720530
MH2-05 | BC | 5LBS | 2nd fl MICU next to clean utility rm | 761711 | I17720532
MH2-22 | BC | 5LBS | 2nd fl MICU mechanical room | 761712 | I17696501
MH2-06 | BC | 5LBS | 2nd fl Dialysis next to entry door | 761322 | G15010901
MH2-07 | BC | 5LBS | 2nd fl outside of dialysis | 761725 | I17717289
MH2-08 | ABC | 10LBS | 2nd fl main hall at fire doors and time clock | 761325 | G15020369
MH2-09 | ABC | 10LBS | 2nd fl at East main elevators 4/5 behind NS | 761724 | I17717279
MH2-10 | ABC | 10LBS | 2nd fl 216-229 hall by rm 227 | 761329 | F99711424
MH2-11 | ABC | 10LBS | 2nd fl next to roof access door | 761328 | G16809105
MH2-12 | ABC | 10LBS | 2nd fl at smk doors by EBR | 761741 | I17720541
MH2-13 | ABC | 10LBS | 2nd fl PRC hall by exercise rm back door | 761740 | I17717274
MH2-14 | ABC | 10LBS | 2nd fl PRC kitchen | 761324 | G16809106
MH2-15 | ABC | 10LBS | 2nd fl PRC lounge/help desk | 761327 | G15033648
MH2-16 | ABC | 5LBS | 2nd fl hall before BMP crosswalk | 761739 | I15991570
MH2-17 | ABC | 10LBS | 2nd fl inside medical records by coding | 761670 | F44671126
MH2-18 | ABC | 10LBS | 2nd fl inside medical records break room | 761669 | F44671155
MH2-19 | ABC | 10LBS | 2nd fl inside medical records staff entrance | 761738 | I17717273
MH2-20 | ABC | 10LBS | 2nd fl by North Tower elevators 34/35 by med recds | 761737 | I17720540
MH2-21 | ABC | 10LBS | 2nd fl 201-215 hall btw rms 207&209 | 761707 | I17717290
MH2P-01 | ABC | 10LBS | 2nd fl roof AHU2-6 mech rm A | 761723 | I17696500
MH2P-02 | ABC | 10LBS | 2nd fl roof AHU2-6 mech rm B | 761722 | I17720546
| ABC | 10LBS | 2nd fl Crosswalk to BMP 1 | 761497 | F72245470
| ABC | 10LBS | 2nd fl Crosswalk to BMP 2 | 411896 | V-625201
| ABC | 10LBS | 3rd fl by stair 9 | 761000 | E77722438
E3-01 | ABC | 5LBS | 3rd fl hall by room 363 | 761128 | F59522806
E3-02 | ABC | 10LBS | 3rd fl hall by room 377 | 761289 | F99909040
E3-03 | ABC | 10LBS | 3rd fl mech rm by rm 365/West main elevator 6/7 lobby | 761709 | I17699805
MH3-05 | ABC | 10LBS | 3rd fl main hall by CCU waiting room | 761662 | F44671147
| ABC | 5LBS | 3rd fl hall by room 309 | 761288 | G13248880
| ABC | 10LBS | 3rd fl CIU buy rm 327 | 761118 | F70303131
MH3-06 | ABC | 5LBS | 3rd fl Cath Lab front entrance | 761123 | E77556184
MH3-07 | Holo | 5LBS | 3rd fl Cath Lab control room | 761129 | F51016063
| ABC | 10LBS | 3rd fl Cath Lab by EP lab 1 | 761547 | F65792640
MH3-10 | ABC | 5LBS | 3rd fl Cath Lab by EP lab 2 | 761548 | F51149676
MH3-08 | ABC | 10LBS | 3rd fl mainhall by physician conf room | 761111 | F70247615
MH3-09 | ABC | 10LBS | 3rd fl Coronary Care Unit | 761146 | F59541629
MH4-01 | ABC | 10LBS | 4t fl mainhall across from soiled utility | 761700 | I77020533
MH4-02 | ABC | 10LBS | 4th fl main hall by room 429 | 761553 | E93397383
MH4-03 | ABC | 10LBS | 4th fl North hall scross from exit stair | 761019 | E94115788
MH4-04 | ABC | 10LBS | 4th fl SICU by stair 10 | 761117 | F70303693
MH4-05 | ABC | 10LBS | 4th fl SICU next to rm 4 | 761292 | G15034671
MH4-06 | ABC | 10LBS | 4th fl hall by room 409 | 761120 | F70314316
MH4-07 | ABC | 10LBS | 4th fl mech rm at West elv 6/7 lobby | 761294 | G15005494
E4-01 | ABC | 5LBS | 4th fl hall by room 459 | 761644 | G13246829
E4-02 | ABC | 5LBS | 4th fl hall by room 485 | 761715 | I15995285
E4-03 | ABC | 5LBS | 4th fl hall by room 472 | 761714 | I15987906
MH5-01 | ABC | 5LBS | 5th fl West hall Rehab gym (solarium) | 761092 | F59540928
MH5-02 | ABC | 5LBS | 5th fl West hall by room 509 | 761122 | F59541626
MH5-05 | ABC | 10LBS | 5th fl South hall by room 546 | 761109 | F70303140
MH5-06 | ABC | 5LBS | 5th fl North hall by room 527 | 761124 | F59539404
MH5-07 | ABC | 5LBS | 5th fl North hall across from exit stair | 761125 | F59522804
MH5-08 | ABC | 10LBS | 5th fl East hall next to time clock | 761286 | G16809108
MH5-09 | ABC | 10LBS | 5th fl West mechanical room | 761716 | I17696507
| ABC | 10LBS | 5th fl inside NS at shred bin | 761627 | F70314308
|  |  | 5th fl NS behind desk | 761291 | G16812993
MH6-01 | ABC | 10LBS | 6th fl main hall across from soiled utility closet/timeclock | 761295 | G16807140
MH6-02 | ABC | 10LBS | 6th fl patient hall 616-629 | 761282 | G15020366
MH6-03 | ABC | 10LBS | 6th fl patient hall 616-629 at stair 9 | 761016 | F46778273
MH6-04 | ABC | 10LBS | 6th fl NS | 761108 | F70303133
MH6-05 | ABC | 10LBS | 6th fl patient hall 601-612 at Rehab gym | 761119 | F70314310
MH6-06 | ABC | 5LBS | 6th fl ADL kitchen | 761283 | G05670147
MH6-07 | ABC | 10LBS | 6th fl patient hall 635-649 at stair 10 | 761287 | G16810017
MH6-08 | ABC | 10LBS | 6th fl patient hall 635-649 med room | 761290 | G16809109
MH7-01 | ABC | 10LBS | 7th fl East hall across from pantry | 761705 | I17717281
| ABC | 10LBS | 7th fl NS by shred bin | 761718 | I17720544
MH7-03 | ABC | 10LBS | 7th fl West hall by room 709 | 761075 | F70241000
MH7-04 | ABC | 10LBS | 7th fl North hall by room 743 | 761112 | F70303692
MH7-05 | ABC | 10LBS | 7th fl by room 734 | 761704 | I1769502
MH7-06 | ABC | 10LBS | 7th fl Mental Health IM7 next to room 726 | 761077 | F70313469
MH7-07 | ABC | 10LBS | 7th fl Mental Health IM7 next to dayroom | 761717 | I17717284
MHP-01 | ABC | 10LBS | Penthouse East roof elv controls mech rm exit door | 761661 | F44671131
MHP-02 | ABC | 10LBS | Penthouse East roof elv controls mech rm | 761727 | I17717022
MHP-03 | ABC | 10LBS | Penthouse center roof elv controls mech rm exit door | 761558 | E93374715
MHP-04 | ABC | 10LBS | Penthouse center roof elv controls mech rm exit door | 761708 | I17713728
MHP-05 | ABC | 10LBS | Penthouse West roof elv controls mech rm | 761293 | G16810519
CMHG-1 | ABC | 10LBS | Gr fl Mental Health corr at pat laundry Geri offices | 761750 | I17695176
CMHG-2 | ABC | 10LBS | Gr fl Mental Health corr at pat laundry Geri | 761759 | I17713233
CMHG-3 | ABC | 10LBS | Gr fl Mental Health corr at rm 1059 IM3 | 761747 | I17713236
CMHG-01 | ABC | 5LBS | Gr fl Mental Health corr at stair 2 | 281797 | H07166656
CMHG-02 | ABC | 5LBS | Gr fl Mental Health corr at IM2 doors | 281804 | H07164704
CMHG-03 | ABC | 10LBS | Gr fl Mental Health corr at rm 017 IM2 | 761136 | F70314320
CMHG-04 | ABC | 10LBS | Gr fl Mental Health corr at rm 030 IM2 | 761133 | F70313473
CMHG-05 | ABC | 10LBS | Gr fl Mental Health physical therapy breakroom/kitchen | 761676 | F44671136
CMHG-06 | ABC | 10LBS | LTC elevator room outside door | 281726 | D06445161
CMHP-01 | ABC | 10LBS | P-level Mental Health corr at ADHEC recovery door | 761751 | I17713727
CMHP-07 | ABC | 10LBS | P-level Mental Health Intake office door | 761311 | G13248879
| ABC | 5LBS | P-level Mental Health Intake med room | 411549 | AB391212
| ABC | 5LBS | P-level Mental Health Intake break room | 281798 | H07164672
CMHP-08 | ABC | 10LBS | Intake next to clean work room | 761629 | F70303130
CMHP-10 | ABC | 10LBS | P-level ADHEC maintenance in HVAC room | 761308 | G16809099
CMHR-11 | ABC | 10LBS | Roof ADHEC hangning on metal barrier ADHEC wall/MH roof | 761748 | I17717023
CMHR-12 | ABC | 10LBS | Roof Mental Health behind mech rm | 761749 | I17695169
CMHP-04 | ABC | 10LBS | P-level ADHEC treatment area at NS and restrooms | 761673 | F44671097
CMHP-06 | ABC | 5LBS | P-level Mental Health corr at ADHEC check-in | 761674 | F44671092
CMHP-14 | CO2 | 25LBS | P-level outisde ADHEC switch gear room | 761752 | I07098500
CMHP-15 | CO2 | 25LBS | P-level outisde ADHEC switch gear room | 761753 | I07098504
CMHP-16 | ABC | 10LBS | Gr l outside ADHEC mechanical room | 761675 | F44671138
CMH1-01 | ABC | 10LBS | 1st fl Mental Health IM4 by room 101 | 761309 | G16809104
CMH1-02 | ABC | 5LBS | 1st fl Mental Health IM4 corr at stair 2 | 281830 | H07164652
CMH1-03 | ABC | 5LBS | 1st fl Mental Health IM1 by room 117 | 281835 | H07164683
CMH1-04 | ABC | 5LBS | 1st fl Mental Health IM1 corr at smk doors | 761746 | I17717032
CMH1-05 | ABC | 5LBS | 1st fl Mental Health IM1 by room 130 | 761567 | F51150043
CMH1-06 | ABC | 10LBS | Adjuctive therapies office | 761745 | I17713228
CMH1-07 | ABC | 5LBS | 1st fl be restrooms for Center for Mental Health | 281831 | H07164564
NTG-01 | ABC | 10LBS | Gr fl Cancer Center hall to Cyberknife | 761317 | G15020365
NTG-02 | ABC | 10LBS | Gr fl Cyberknife lobby | 761310 | G16807135
NTG-03 | ABC | 10LBS | Gr fl Cancer Center lobby | 761278 | G15022780
NT1-01 | ABC | 10LBS | 1st fl N tower elv 34/35 lobby Pre-op holding waiting rm | 411695 | F70313471