## Sheet1
Section | Location | Barcode | Serial Number | Location # | Type | Size | Pass Y/N | < 5ft Y/N | Date Inspected | Initials
MOB A | Suite 112 WDC south hall by to mammography | 761834 | I17714807 | WMP1-01 | ABC | 10LBS | Pass
MOB A | Suite 112 WDC west hall by medical records | 761835 | I17707053 | WMP1-02 | ABC | 10LBS
MOB A | Suite 112 WDC north hall next to break room | 761836 | I1769203 | WMP1-03 | ABC | 10LBS
MOB A | Suite 112 WDC outside new CT scan | 411846 | AU462751 | WMP1-08 | ABC | 10LBS
MOB A | Suite 104 Dr Barnes office front hall | 761374 | G16810008 | WMP1-04 | ABC | 10LBS
MOB A | Suite 104 Dr Barnes office front hall | 761382 | G16807127 | WMP1-05 | ABC | 10LBS
MOB A | Lobby across from elevators | 281919 | F72245478 | WMP1-09 | ABC | 10LBS
MOB A | 2nd landing of Stairwell by Elev# 16 | 761498 | G15033649 |  | ABC | 10LBS
MOB A | Chapel | 761512 | F88840430 |  | ABC | 5LBS
MOB A | Across from suite 200 | 761379 | G16812983 |  | ABC | 5LBS
MOB A | Suite 202 btw rm 4 &5 | 761522 | F70333257 |  | ABC | 10LBS
MOB A | Suite 202 by lab | 761521 | F88840454 |  | ABC | 10LBS
MOB A | Suite 204 by ultrasound | 761837 | I15995067 |  | ABC | 5LBS
MOB A | Suite 206 | 761418 | F88842270 |  | ABC | 10LBS
MOB A | Suite 214 records | 761519 | F72245537 |  | ABC | 5LBS
MOB A | Suite 214 break room | 761520 | XR506075 |  | ABC | 10LBS
MOB A | Across from Suite 214 | 761376 | G-16812984 |  | ABC | 10LBS
MOB A | Suite 210 at lobby door | 761625 | F70313778 |  | ABC | 10LBS
MOB A | Suite 210 at lab | 411595 | BP698374 |  | ABC | 10LBS
MOB A | Suite 210 Break room | 411514 | F72245555 |  | ABC | 10LBS
MOB A | Suite 302 Rear Hall | 761501 | G15005489 |  | ABC | 10LBS
MOB A | Suite 302 By Restroom | 761417 | F88829005 |  | ABC | 10LBS
MOB A | 3rd by suite 310 | 761375 | G16810516 |  | ABC | 10LBS
MOB A | 3rd by suite 302 | 761383 | G16809093 |  | ABC | 10LBS
MOB A | Suite 302 back hall | 761415 | F88829993 |  | ABC | 10LBS
MOB A | Suite 310 breakroom | 761535 | G31902918 |  | ABC | 5LBS
MOB A | Suite 310 by rm 3 | 761517 | F72245518 |  | ABC | 10LBS
MOB A | Suite 310 by lab | 761518 | F72245535 |  | ABC | 10LBS
MOB A | Suite 300 Case management/Addmissions | 761838 | I27706964 | WMP3-01 | ABC | 10LBS
MOB A | 4th by stair 17 | 761378 | G16810515 |  | ABC | 10LBS
MOB A | 4th by suite 405 | 761377 | G16812987 |  | ABC | 10LBS
MOB A | Suite 410 | 761414 | F88830930 |  | ABC | 10LBS
MOB A | Suite 402 exam rm 11 | 761537 | E71295841 |  | ABC | 10LBS
MOB A | Suite 402 by Dr Taylor | 761536 | E71295842 |  | ABC | 10LBS
MOB A | Suite 402 by acct management | 761538 | E71295822 |  | ABC | 10LBS
MOB A | Suite 402 by rm 3 | 281820 | AF72245485 |  | ABC | 5LBS
MOB A | Suite 502 PAT admission desk | 761657 | F44671089 | WMP5-01 | ABC | 10LBS
MOB A | Suite 502 PAT backhall | 761422 | F88833514 | WMP5-02 | ABC | 10LBS
MOB A | 5th by suite 508 | 761380 | G16807129 |  | ABC | 10LBS
MOB A | 5th by suite 508B | 761373 | G16807105 |  | ABC | 10LBS
MOB A | Suite 508 reception area | 761031 | F96664706 |  | ABC | 10LBS
MOB A | Suite 508 records | 761648 | F44671100 |  | ABC | 10LBS
MOB A | Suite 508 by rm 8 | 761541 | E71295826 |  | ABC | 10LBS
MOB A | Suite 508 corner by rm 12 | 761539 | E71295840 |  | ABC | 10LBS
MOB A | Suite 508 lab | 761126 | F59543266 |  | ABC | 10LBS
MOB A | Suite 508 by exit sign closet | 761540 | E71295848 |  | ABC | 10LBS
MOB A | Suite 508 recovery | 761543 | E71295839 |  | ABC | 10LBS
MOB A | Suite 508 by rear exit | 761542 | E71295836 |  | ABC | 10LBS
MOB A | Suite 508 back of OR | 761544 | E71295845 |  | ABC | 10LBS
MOB A | Suite 604 kitchen | 761113 | F70314306 | WMP6-04 | ABC | 10LBS
MOB A | Suite 604 hallway by kitchen | 761365 | G16810001 |  | ABC | 10LBS
MOB A | Suite 604 Exam Room 3 | 761213 | F96657956 |  | ABC | 10LBS
MOB A | Suite 604 Hallway to lounge | 761212 | F93817480 |  | ABC | 10LBS
MOB A | Suite 600 Front Receptionist area | 761440 | F44671106 |  | ABC | 10LBS
MOB A | Suite 600 Middle of back Hallway | 761445 | F44671086 |  | ABC | 10LBS
MOB A | Suite 600 Breakroom | 761444 | F44671133 |  | ABC | 10LBS
MOB A | Suite 600 Lab area | 761443 | F72245521 |  | ABC | 10LBS
MOB A | Suite 600 Rear Door | 761441 | F44671089 |  | ABC | 10LBS
MOB A | Suite 600 Kitchen Area | 761659 | F44671091 |  | ABC | 10LBS
MOB A | Suite 600 by power panel | 761442 | F44671090 |  | ABC | 10LBS
MOB A | Suite 600 across from restroom | 761824 | I17699532 |  | ABC | 10LBS
MOB A | Suite 600 outside exam rm 3 | 761825 | I17706466 |  | ABC | 10LBS
MOB A | 6th by stair 17 | 761660 | G21329070 |  | ABC | 5LBS
MOB A | 6th by elevator lobby | 761121 | F59543263 |  | ABC | 5LBS
MOB A | 6th by suite 604 | 761301 | G13245590 |  | ABC | 5LBS
MOB A | Suite 604 by lobby entry | 761212 | F93817420 |  | ABC | 5LBS
MOB A | Suite 604 by lab | 761213 | F96657956 |  | ABC | 5LBS
MOB A | 7th mechanical room | 761623 | F44671108 |  | ABC | 10LBS
MOB A | 7th elevator lobby | 761596 | F44671132 |  | ABC | 5LBS
MOB A | 7th by stair 18 | 761385 | G13245592 |  | ABC | 5LBS
MOB A | 7th by suite 700 | 761362 | G13245274 |  | ABC | 5LBS
MOB A | Suite 700 reception area | 761207 | F72245559 |  | ABC | 10LBS
MOB A | Suite 700 urine test area | 761208 | F72245572 |  | ABC | 10LBS
MOB A | Suite 700 by cabinets/IUD display | 761209 | F72245501 |  | ABC | 10LBS
MOB A | Suite 700 corner by vending | 761210 | F72245503 |  | ABC | 10LBS
MOB A | Suite 700 breakroom | 761211 | F72245542 |  | ABC | 5LBS
MOB A | Suite 710 | 761416 | F88829007 |  | ABC | 10LBS
MOB A | Roof Penthouse | 761320 | G13245272 |  | ABC | 5LBS
MOB B | Outside alley by mechanical room | 761654 | F44671109 |  | ABC | 10LBS
MOB B | Chiller #2 | 761345 | G16810529 |  | ABC | 10LBS
MOB B | Mail Room | 761357 | G15034669 | ACCG-01 | ABC | 10LBS
MOB B | Payroll front hall | 761358 | G16812995 | ACCG-02 | ABC | 10LBS
MOB B | Accounting back hall | 761829 | I17724805 | ACCG-03 | ABC | 10LBS
MOB B | IS back hall next to conference room | 411988 | F44671143 | ACCG-04 | ABC | 10LBS
MOB B | IS front hall next to reception | 411978 | F44671169 | ACCG-05 | ABC | 10LBS
MOB B | IS server room | 411882 | H29569619 | ACCG-06 | Halcon | 5LBS
MOB B | Plant Ops by Break Room | 761831 | I17695702 | ACCG-07 | ABC | 10LBS
MOB B | Plant Ops Center by Racks | 761072 | F70313468 | ACCG-08 | ABC | 10LBS
MOB B | Clinical office | 761653 | F44671105 | ACCG-09 | ABC | 10LBS
MOB B | UPS room dietary alley outside IS | 281712 | I17695645 | UPS room | ABC | 10LBS
MOB B | HRC front hall | 761830 | F44671148 | ACCG-10 | ABC | 10LBS
MOB B | HRC rear hall | 281709 | F44671149 | ACCG-11 | ABC | 10LBS
MOB B | Ground by air handler | 411985 | G31902936 |  | ABC | 5LBS
MOB B | Gr fl hall by elevator lobby | 761073 | F70313784 |  | ABC | 10LBS
MOB B | Suite 215 break room | 761655 | F44671096 | ACC2-01 | ABC | 10LBS
MOB B | HR next to registration | 761100 | F70303697 | ACC2-03 | ABC | 10LBS
MOB B | HR breakroom | 761076 | F70313482 | ACC2-04 | ABC | 10LBS
MOB B | Orange Elevator Crosswalk #21 Ground Mech RM | 281908 | F72245536 |  | ABC | 10LBS
MOB B | 2nd by stair 7 | 761356 | G16810011 |  | ABC | 10LBS
MOB B | 2nd by stair 14 | 761393 | G16809110 |  | ABC | 10LBS
MOB B | Suite 209 | 761411 | F88832743 |  | ABC | 10LBS
MOB B | Suite 210 records | 761506 | F88770822 |  | ABC | 10LBS
MOB B | Suite 210 breakroom | 761507 | F93817423 |  | ABC | 5LBS
MOB B | Suite 211 | 761410 | F88829992 |  | ABC | 10LBS
MOB B | Suite 207 hall inside | 761508 | F88793739 |  | ABC | 10LBS
MOB B | Suite 208 by break room | 761656 | F44671104 |  | ABC | 10LBS
MOB B | 2nd fl mechanical room | 761082 | F70313480 |  | ABC | 10LBS
MOB B | Suite 304 Heart Holding | 761145 | F59538745 | ACC3-01 | ABC | 5LBS
MOB B | 3rd by stair 14 | 761331 | G15010897 |  | ABC | 10LBS
MOB B | 3rd by stair 7 | 761392 | G15034670 |  | ABC | 10LBS
MOB B | Suite 305 By BreakRoom by Back Hall | 761425 | F88842267 |  | ABC | 10LBS
MOB B | Suite 305 Staff Exit | 761409 | F88829004 |  | ABC | 10LBS
MOB B | Suite 305 Middle Desk Mid Hall | 761424 | F88832744 |  | ABC | 10LBS
MOB B | Suite 307 Reception area | 761827 | I17699534 |  | ABC | 10LBS
MOB B | Suite 307 Hallway | 761828 | I17707050 |  | ABC | 10LBS
MOB B | Suite 307 Gallaway | 761407 | G16812986 |  | ABC | 10LBS
MOB B | Suite 310 By Break Room Door | 211022 | F88789519 |  | ABC | 10LBS
MOB B | Suite 402 | 761406 | G16810002 |  | ABC | 10LBS
MOB B | Suite 405 Volunteer office kitchen | 761387 | G16810019 | ACC4-01 | ABC | 10LBS
MOB B | Suite 405 Volunteer office | 761389 | G16810014 | ACC4-02 | ABC | 10LBS
MOB B | Suite 412 | 761428 | G16807126 |  | ABC | 10LBS
MOB B | Suite 414 | 761426 | F88829006 |  | ABC | 10LBS
MOB B | 4th by stair 7 | 761390 | G15010898 |  | ABC | 10LBS
MOB B | 4th by stair 14 | 761388 | G15022781 |  | ABC | 10LBS
MOB B | Suite 408 by rm 2 | 761192 | F88773153 |  | ABC | 10LBS
MOB B | Suite 403 by rm 1 | 761826 | I17714804 |  | ABC | 10LBS
MOB B | Suite 401 lobby entrance | 761533 | G31902872 |  | ABC | 5LBS
MOB B | Suite 401 draw area | 411544 | AB391203 |  | BC | 5LBS
MOB B | Suite 401 breakroom | 761193 | F44671103 |  | ABC | 5LBS
MOB B | Suite 409 | 761436 | F44671144 |  | ABC | 10LBS
MOB B | Suite 416 Material Management | 411986 | F44671128 |  | ABC | 10LBS
MOB B | Suite 509 Pastoral Care | 761833 | I17707051 | ACC5-01 | ABC | 10LBS
MOB B | Emergency services suite 508 | 411979 | F44671119 | ACC5-02 | ABC | 10LBS
MOB B | 5th by stair 14 | 761353 | G16807141 |  | ABC | 10LBS
MOB B | 5th by stair 7 | 761391 | G10533647 |  | ABC | 10LBS
MOB B | Suite 503A rear office desk | 761185 | F88789515 |  | ABC | 5LBS
MOB B | Suite 510 by exam rm 18 | 761621 | F88773161 |  | ABC | 10LBS
MOB B | Suite 510 by exam rm 10 | 761832 | I17714137 |  | ABC | 10LBS
MOB B | Suite 510 by exam rm 5 | 761624 | F70314313 |  | ABC | 10LBS
MOB B | Suite 511 | 761427 | G16809096 |  | ABC | 10LBS
MOB B | Suite 513 | 761431 | G16809098 |  | ABC | 10LBS
MOB B | 6th inside stair 14 | 761104 | F70303699 |  | ABC | 10LBS
MOB B | 6th vending area | 761355 | G15035227 |  | ABC | 10LBS
MOB B | 6th by EVS closet | 761384 | G15005488 |  | ABC | 10LBS
MOB B | 6th by suite 628 | 411984 | F44671110 |  | ABC | 10LBS
MOB B | Suite 626 by breakroom | 761181 | F88773157 |  | ABC | 10LBS
MOB B | Suite 628 by lobby door | 761182 | F88770817 |  | ABC | 10LBS
MOB B | Suite 628 by checkout | 761183 | F44671122 |  | ABC | 10LBS
MOB B | Suite 626 by records | 761184 | F88770819 |  | ABC | 10LBS
MOB B | Roof upper platform elevator penthouse | 761335 | G16810528 |  | ABC | 10LBS
MOB B | Roof lower platform elevator penthouse | 761352 | G16810521 |  | ABC | 10LBS
MOB B | Roof rising door | 761394 | G16809101 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Ground by stair 24 | 761081 | F70313481 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Ground by EVS closet | 761080 | F70313478 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Ground by elevator closet | 761071 | F70303695 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Ground elevator machine room | 761086 | F70312273 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Ground by stair 25 | 761083 | F70314309 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | G5 By Admin Office | 411554 | F-72245486 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | G5 by Kitchen | 761016 | F-72245464 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | G5 by Directors office | 411983 | F-72245514 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 101 BIO Med wall office | 281724 | D57647584 | POB1-01 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 101 BIO Med Breakroom | 761005 | E94122377 | POB1-02 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 114 Security next to console | 411540 | F72245498 | POB1-03 | ABC | 5LBS
MOB C - Atrium Crosswalk | Suite 114 Security next to kitchen | 761218 | F59540925 | POB1-04 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 114 Secuirty break room | 411495 | AH197433 | POB1-05 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 104 hall by office | 461626 | F70313470 | POB1-07 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 111 Inmate holding back room | 761601 | F46777793 | POB1-08 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 120 Property manager copier | 281722 | C91408194 | POB1-09 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 120 Property manager restroom | 281721 | D57603905 | POB1-10 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 106 Rear by Back office | 761478 | G16810003 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 1st by stair 24 | 761069 | F70240344 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 1st by electrical closet | 761089 | F70314315 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 1st by stair 25 | 761078 | F70313479 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 115 Back Hall Psych Therapy Office | 761359 | G16812999 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 115 Front Hall | 281698 | D58445272 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 112 Front Door | 761477 | F88829991 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 112 by back door | 761386 | G16807137 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 206 PAT by exam 1 | 761354 | F99909374 | POB2-04 | ABC | 5LBS
MOB C - Atrium Crosswalk | Suite 206 PAT by exam 7 | 411647 | BL546116 | POB2-05 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 206 PAT by waiting room door | 761622 | F70313472 | POB2-06 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 206 PAT by supply | 761600 | F46779134 | POB2-07 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 208 case mngr hallway | 761093 | F95939403 | POB2-01 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 208 Psych case mngr breakroom | 761095 | F59538744 | POB2-02 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 215 BBH CV | 411887 | C91409177 | POB2-03 | ABC | 5LBS
MOB C - Atrium Crosswalk | 2nd by stair 25 | 761085 | F70303136 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 2nd electrical closet | 761087 | F70314315 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 2nd by stair 24 | 761084 | F70313474 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 205 Hallway | 761011 | E77735231 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 207 hallway | 761199 | F88789514 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 207 breakroom | 761200 | F88770818 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 209 hall by lab | 761201 | F88789516 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 214 hall by corner closet | 761202 | CB551700 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 214 corner nurse station | 761203 | CB551701 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 214 IS closet note on door | 761204 | AH197439 |  | ABC | 5LBS
MOB C - Atrium Crosswalk | Suite 308 Back hall education | 761361 | G15034672 | POB3-01 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 309 Vacant | 761484 | G16809998 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | suite 312 Vacant | 281720 | C94509021 | POB3-02 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 314 Brookwood ENT | 281697 | D57600965 | POB3-04 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 315 Vacant | 761482 | G16810514 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 301 Center Hall by Copy Center |  | F44671121 | POB3-05 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 301 North Hall | 411490 | AC603743 | POB3-06 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 301 South Hall | 411491 | AC603747 | POB3-07 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 301 Copy Center | 411504 | C94510061 | POB3-08 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 304 BBH valve clinic hall | 411487 | C945079352 | POB3-09 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 304 BBH Valve Clinic Breakroom | 411488 | C91410062 | POB3-10 | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 302 Vacant | 761430 | G16809095 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Suite 305 Vacant | 761483 | G16810517 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 3rd by stair 24 | 761090 | F7030141 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 3rd electrical closet | 761360 | G16812989 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | 3rd by suite 312 | 761079 | F70303701 |  | ABC | 10LBS
MOB C - Atrium Crosswalk | Lower level atrium to crosswalk | 761013 | E94119343 | CA-01 | ABC | 10LBS
MOB C - Atrium Crosswalk | Lower level atrium mechanical room | 281711 | D57648760 | CA-02 | ABC | 10LBS
MOB C - Atrium Crosswalk | Upper level atrium crosswalk | 761632 | F70303702 | CAW-01 | ABC | 10LBS
MOB D and Parking | LL hallway FDC cabinet | 761370 | G16809994 |  | ABC | 10LBS
MOB D and Parking | LL electrical closet | 761397 | F87311664 |  | CO2 | 10LBS
MOB D and Parking | LL Mechanical room | 761840 | G11040612 |  | CO2 | 5LBS
MOB D and Parking | Suite 75 bhind check in | 761007 | F46779130 |  | ABC | 10LBS
MOB D and Parking | Suite Back Exit Door | 761001 | F70303137 |  | ABC | 10LBS
MOB D and Parking | Suite B60 by Exam Room | 761481 | G16807125 |  | ABC | 10LBS
MOB D and Parking | Suite B65 pharmacy area | 761256 | F59151364 |  | ABC | 10LBS
MOB D and Parking | Suite B50 by Xray rm | 761257 | F88869213 |  | ABC | 10LBS
MOB D and Parking | Suite B50 by restroom | 761258 | F88783202 |  | ABC | 10LBS
MOB D and Parking | Suite B50 by staff restroom | 761265 | F44671142 |  | ABC | 10LBS
MOB D and Parking | Suite B50 by rear nurse station | 761259 | F88793742 |  | ABC | 10LBS
MOB D and Parking | Suite B50 scheduling desk | 761260 | F88789521 |  | ABC | 10LBS
MOB D and Parking | Suite B50 by printers | 761261 | F88783197 |  | ABC | 10LBS
MOB D and Parking | Suite B50 kitchen | 761262 | F88770824 |  | ABC | 10LBS
MOB D and Parking | Suite B50 procedure | 761263 | F88789522 |  | ABC | 10LBS
MOB D and Parking | Suite 100 BDC north hall across from billing | 761091 | F59539400 | BMP1-01 | ABC | 5LBS
MOB D and Parking | Suite 100 BDC east hall next to MRI | 761096 | F59540927 | BMP1-02 | ABC | 5LBS
MOB D and Parking | Suite 100 BDC east hall MRI entry door | 761614 | F58464863 | BMP1-03 | water | 10LBS
MOB D and Parking | Suite 100 BDC south hall across from RAD 2 | 761098 | F59543259 | BMP1-04 | ABC | 5LBS
MOB D and Parking | Suite 100 BDC west hall next to storage room | 761127 | F59539401 | BMP1-05 | ABC | 5LBS
MOB D and Parking | Suite 100 BDC PAT hall by mngrs office | 761097 | F59541630 | BMP1-06 | ABC | 5LBS
MOB D and Parking | Suite 101 recovery room | 281745 | E11492927 | BMP1-07 | ABC | 5LBS
MOB D and Parking | Suite 101 west hall across nurse station | 761103 | F70314318 | BMP1-08 | ABC | 5LBS
MOB D and Parking | Suite 101 hall door to Lobby | 761102 | F70314321 | BMP1-09 | ABC | 10LBS
MOB D and Parking | Suite 101 Proc rm 1 | 761616 | F76699330 |  | BC | 5LBS
MOB D and Parking | Suite 101 Proc rm 2 | 761615 | F76699331 |  | BC | 5LBS
MOB D and Parking | 1st hallway by FDC cabinet | 761368 | G16810004 |  | ABC | 10LBS
MOB D and Parking | 1st electrical closet | 761396 | F87311667 |  | CO2 | 20LBS
MOB D and Parking | Loading dock electrical closet by fire panel | 761399 | F99991622 |  | CO2 | 10LBS
MOB D and Parking | Loading dock mechanical closet chiller water | 761398 | F99991627 |  | CO2 | 10LBS
MOB D and Parking | 2nd hallway by FDC cabinet | 761364 | G16809995 |  | ABC | 10LBS
MOB D and Parking | 2nd vending area | 761381 | G16810006 |  | ABC | 10LBS
MOB D and Parking | 2nd electrical closet | 761395 | F9998836 |  | CO2 | 20LBS
MOB D and Parking | 2nd fl Norwood Clinic Lobby Elv equip rm | 411466 | H01378022
MOB D and Parking | Suite 200 Reception Area | 761187 | F88770820 |  | ABC | 10LBS
MOB D and Parking | Suite 200 IT behind the Recption Area | 761188 | F88789513 |  | ABC | 10LBS
MOB D and Parking | Suite 200 Breakroom by door | 761186 | F88793737 |  | ABC | 10LBS
MOB D and Parking | Suite 260 BBH Surgical Specialist | 761369 | G16809097 |  | ABC | 10LBS
MOB D and Parking | Suite 250 lobby | 761254 | BN829824 |  | ABC | 10LBS
MOB D and Parking | Suite 250 by restroom | 761255 | BN823413 |  | ABC | 10LBS
MOB D and Parking | Suite 275 treatment area | 761268 | F88861925 |  | ABC | 10LBS
MOB D and Parking | Suite 275 near rm 3 | 761502 | G15010903 |  | ABC | 10LBS
MOB D and Parking | Suite 275 rear exit | 761267 | JL525469 |  | ABC | 10LBS
MOB D and Parking | Suite 310 Dr.Askew Behind Recption Area | 761479 | G16809094 |  | ABC | 10LBS
MOB D and Parking | Suite 320 BW SURGICAL WEIGHT LOSS | 761480 | G16809092 |  | ABC | 10LBS
MOB D and Parking | Suite 372 Breakroom | 761367 | G16809999 |  | ABC | 10LBS
MOB D and Parking | Suite 372 restroom | 281785 | D58832969 |  | ABC | 5LBS
MOB D and Parking | Suite 372 by office exit door | 281793 | D58833746 |  | ABC | 5LBS
MOB D and Parking | Suite 372 by lobby door | 411876 | C91407780 |  | ABC | 5LBS
MOB D and Parking | Suite 360 reception area | 761249 | F88773158 |  | ABC | 10LBS
MOB D and Parking | Suite 360 breakroom | 761250 | F8870052 |  | ABC | 10LBS
MOB D and Parking | Suite 360 by rm 6 | 761253 | F63698227 |  | ABC | 10LBS
MOB D and Parking | 3rd hallway by FDC cabinet | 761099 | F70303135 |  | ABC | 10LBS
MOB D and Parking | 3rd electrical closet | 761401 | F87311663 |  | BC | 5LBS
MOB D and Parking | Suite 403 Brookwood patient admitting | 281747 | E1189386 | BMP4-03 | ABC | 10LBS
MOB D and Parking | Suite 403 Brookwood business office lobby | 761366 | G16809997 | BMP4-05 | ABC | 10LBS
MOB D and Parking | Suite 403 Brookwood business office hall | 761365 | G16810001 | BMP4-06 | ABC | 10LBS
MOB D and Parking | Suite 401 lobby | 761245 | F88783200 |  | ABC | 10LBS
MOB D and Parking | Suite 401 by checkout | 761246 | WZ626743 |  | ABC | 10LBS
MOB D and Parking | Suite 401 by exam rm | 761509 | F8879341 |  | ABC | 10LBS
MOB D and Parking | Suite 401 end of hall by rm 10 | 761510 | F88783198 |  | ABC | 10LBS
MOB D and Parking | Suite 401 infusion rm | 761248 | F-88793740 |  | ABC | 10LBS
MOB D and Parking | 4th Hallway FDC cabinet | 761371 | G16810007 |  | ABC | 10LBS
MOB D and Parking | 4th hallway by suite 404 | 761372 | G16810000 |  | ABC | 10LBS
MOB D and Parking | 4th electrical closet | 761402 | G11332344 |  | CO2 | 20LBS
MOB D and Parking | Suite 501 MSA Storage Rear Door | 761421 | F88830391 |  | ABC | 10LBS
MOB D and Parking | Suite 501 MSA Storage Staff area Front | 761420 | F88842271 |  | ABC | 10LBS
MOB D and Parking | Suite 504 wound care by room 1 | 761105 | F70240998 | BMP5-04 | ABC | 10LBS
MOB D and Parking | Suite 504 wound care by room 6 | 761363 | G16807128 | BMP5-05 | ABC | 10LBS
MOB D and Parking | Suite 504 wound care hyperbaric chamber | 761070 | F70313780 | BMP5-06 | ABC | 10LBS
MOB D and Parking | Suite 505 | 761839 | F36266982 | BMP5-07 | ABC | 10LBS
MOB D and Parking | Suite 507 Medical Staff Affairs | 761423 | F88832749 |  | ABC | 10LBS
MOB D and Parking | 5th End of crosswalk | 761106 | F70303696 |  | ABC | 10LBS
MOB D and Parking | 5th Hallway FDC cabinet | 761107 | F70314319 |  | ABC | 10LBS
MOB D and Parking | 5th Electrical closet | 761405 | G11335275 |  | CO2 | 20LBS
MOB D and Parking | Suite 500 by restroom | 761240 | F88773159 |  | ABC | 10LBS
MOB D and Parking | Suite 500 by infusion | 761241 | F8870051 |  | ABC | 10LBS
MOB D and Parking | Suite 506 by processing room | 761242 | F88770823 |  | ABC | 10LBS
MOB D and Parking | Suite 506 by rear exit | 761243 | F8881948 |  | ABC | 10LBS
MOB D and Parking | Suite 502 by lobby door | 761244 | F88773160 |  | ABC | 10LBS
MOB D and Parking | BMP Crosswalk | 761015 | F72213256 |  | ABC | 10LBS
MOB D and Parking | Roof penthouse elevator | 411739 | AB391197 |  | CO2 | 20LBS
MOB D and Parking | Roof penthouse elec side | 761404 | G11335249 |  | CO2 | 20LBS
MOB D and Parking | Roof penthouse air handler | 761403 | G11335258 |  | CO2 | 20LBS
MOB D and Parking | BMP deck upper level next to lobby entrance | 781847 | I17695701 | BMPDL-01 | ABC | 10LBS
MOB D and Parking | BMP deck east side P1 | 761429 | F88829008 | BMPP1-01 | ABC | 10LBS
MOB D and Parking | BMP deck west side P1 | 761432 | F46777810 | BMPP1-02 | ABC | 10LBS
MOB D and Parking | BMP deck east side P2 | 761408 | G16809996 | BMPP2-01 | ABC | 10LBS
MOB D and Parking | BMP deck west side P2 | 411689 | F01497312 | BMPP2-02 | ABC | 10LBS
MOB D and Parking | BMP deck east side P3 | 281832 | F01497358 | BMPP3-01 | ABC | 10LBS
MOB D and Parking | BMP deck west side P3 | 281766 | I17714130 | BMPP3-02 | ABC | 10LBS
MOB D and Parking | BMP deck east side P4 | 761503 | G09723202 | BMPP4-01 | ABC | 10LBS
MOB D and Parking | BMP deck west side P4 | 761004 | AU483180 | BMPP4-02 | ABC | 5LBS
Visitor Parking Deck | VPD L5 Yellow | 761002 | F46781494 | VDY5-01 | ABC | 10LBS
Visitor Parking Deck | VPD L6 Yellow | 761496 | F44671099 | VDY6-01 | ABC | 10LBS
Visitor Parking Deck | VPD L7 Yellow | 761633 | F70303700 | VDY7-01 | ABC | 10LBS
Visitor Parking Deck | VPD yellow elevator penthouse |  | F44671123 | VDYP-01 | ABC | 10LBS
Visitor Parking Deck | VPD L1 Orange | 411733 | BE842789 | VDO1-01 | ABC | 10LBS
Visitor Parking Deck | VPD L2 Orange | 281765 | F44671139 | VDO2-01 | ABC | 10LBS
Visitor Parking Deck | VPD L3 Orange | 761499 | G16809102 | VDO3-01 | ABC | 10LBS
Visitor Parking Deck | VPD L4 Orange | 411622 | AC602174 | VDO4-01 | ABC | 10LBS
Visitor Parking Deck | VPD L6 Orange | 761003 | F46781493 | VDO6-01 | ABC | 5LBS
Visitor Parking Deck | VPD L5 Orange | 761008 | E77736392 | VDO5-01 | ABC | 5LBS
Visitor Parking Deck | VPD L7 Orange | 761492 | G16812985 | VDO7-01 | ABC | 10LBS
Visitor Parking Deck | VPD orange elevator penthouse | 761549 | F44671098 | VDOP-01 | ABC | 10LBS
Visitor Parking Deck | VPD L1 Blue | 411993 | F44671135 | VDB1-01 | ABC | 10LBS
Visitor Parking Deck | VPD L2 Blue | 761643 | G13245269 | VDB2-01 | ABC | 10LBS
Visitor Parking Deck | VPD L3 Blue | 411994 | F44671114 | VDB3-01 | ABC | 10LBS
Visitor Parking Deck | VPD L4 Blue | 441991 | F44671113 | VDB4-01 | ABC | 10LBS
Visitor Parking Deck | VPD L5 Blue | 411995 | F44671134 | VDB5-01 | ABC | 10LBS
Visitor Parking Deck | VPD L6 Blue | 411990 | G16812988 | VDB6-01 | ABC | 10LBS
Visitor Parking Deck | VPD L7 Blue | 411996 | F44621088 | VDB7-01 | ABC | 10LBS
Visitor Parking Deck | VPD Blue elevator penthouse | 411997 | F44671111 | VDBP-01 | ABC | 10LBS
Visitor Parking Deck | VPD fuel storage tank by gate |  | F44671140 | VDW-01 | ABC | 10LBS
Visitor Parking Deck | VPD power station inside 1st level | 761607 | H33684642 | VDW-01 | BC | 5LBS
Visitor Parking Deck | VPD power station inside 1st level read door right | 761606 | H33685701 | VDW-01 | BC | 5LBS
Visitor Parking Deck | VPD power station 1st level outisde rear door | 761038 | F70303139 | VDW-01 | ABC | 10LBS
Visitor Parking Deck | VPD fire exit by elevator lobby | 761039 | F70303134 | VDW-01 | ABC | 10LBS
Visitor Parking Deck | VPD fuel storage tank inside fence | 761116 | F70312775 | VDW-02 | ABC | 25LBS
Visitor Parking Deck | VPD warehouse north fire exit maint. Area | 411631 | AC600728 | VDW-03 | ABC | 10LBS
Visitor Parking Deck | VPD warehouse maint. Area by door | 761040 | F70314312 | VDW-04 | ABC | 10LBS
Visitor Parking Deck | VPD warehouse generator room right | 761604 | F58421748 | VDW-06 | Purk | 20LBS
Visitor Parking Deck | VPD warehouse generator room left | 761603 | F58421754 | VDW-07 | Purk | 20LBS
Visitor Parking Deck | VPD warehouse generator room side door | 761605 | F59099677 | VDW-08 | BC | 5LBS
Visitor Parking Deck | VPD warehouse by bathroom | 761608 | F52774899 | VDW-09 | BC | 10LBS
Visitor Parking Deck | VPD warehouse by main entrance | 761319 | F99915781 | VDW-10 | ABC | 5LBS
Visitor Parking Deck | VPD Warehouse by Loading Dock | 761302 | G-16807132 | VDW-11 | ABC | 5LBS
Women's Medical Center | Ground fl tunnel near main hospital | 761650 | F44671130 | WG-01 | ABC | 10LBS
Women's Medical Center | Ground fl tunnel near elevators 8/9/10 lobby | 761776 | I17695177 | WG-02 | ABC | 10LBS
Women's Medical Center | Ground fl tunnel across from elevators 8/9/10 | 761304 | G13246832 | WG-03 | ABC | 5LBS
Women's Medical Center | Ground fl tunnel near elevators 6/7 | 761300 | G16810016 | WG-04 | ABC | 10LBS
Women's Medical Center | Hall next to Womens classroom | 761884 | I15995076 | W1-02 | ABC | 5LBS
Women's Medical Center | South hall next to valet parking | 761885 | I15992747 | W1-03 | ABC | 10LBS
Women's Medical Center | 1st floor in suite 101 | 761620 | F-70314311 | W1-04 | ABC | 10LBS
Women's Medical Center | 1st floor in Nursing Services | 281828 | H07164747 | W1-05 | ABC | 5LBS
Women's Medical Center | 1st floor Womens Surgery exit by holding rm 5 | 281811 | H07164702 | W1-06 | ABC | 5LBS
Women's Medical Center | 1st floor Womens Surgery breakroom by holding rm 12 | 281816 | H07164725 | W1-07 | ABC | 5LBS
Women's Medical Center | Womens Surgery autoclave at OR 3/4 | 281763 | I17717020 | W1-08 | ABC | 10LBS
Women's Medical Center | Womens Surgery autoclave at OR 1/2 | 281762 | I17713729 | W1-09 | ABC | 10LBS
Women's Medical Center | Womens Surgery autoclave at OR 5/7 | 281761 | I17695180 | W1-10 | ABC | 10LBS
Women's Medical Center | Womens Surgery hall by OR 7 | 411879 | BR591267 | W1-11 | ABC | 10LBS
Women's Medical Center | Communiction operator room | 761777 | I15998323 | W1-12 | ABC | 5LBS
Women's Medical Center | 1st floor storage by Communications (Old locksmith shop) | 761784 | I17713738 |  | ABC | 10LBS
Women's Medical Center | 1st floor hall by Nursing Services | 761783 | I16006918 | W1-14 | ABC | 5LBS
Women's Medical Center | 1st floor Womens Surgery by holding rm 11/12 | 281819 | H07164698 | W1-15 | ABC | 5LBS
Women's Medical Center | Womens Surgery hall by old LDR 2 | 761778 | I17717029 | W1-17 | ABC | 10LBS
Women's Medical Center | Womens Surgery hall by old LDR 10 | 281834 | H07164684 | W1-18 | ABC | 5LBS
Women's Medical Center | Womens Surgery hall by old LDR 4 | 281827 | H07164675 | W1-19 | ABC | 5LBS
Women's Medical Center | Old NICU Nursing Station | 281809 | H07164691 | W1-21 | ABC | 5LBS
Women's Medical Center | Old NICU center right column | 761599 | BE842787 | W1-22 | ABC | 5LBS
Women's Medical Center | 1st floor hall to Womens Surgery suite | 281815 | H07166615 | W1-23 | ABC | 5LBS
Women's Medical Center | 1st floor SDS bronch suite | 761412 | F88832745 |  | ABC | 10LBS
Women's Medical Center | South hall next to gallery wall | 761785 | I06596558 | W1-24 | ABC | 5LBS
Women's Medical Center | 1st floor WOR 4 | 761166 | F69491692 | W1-27 | BC | 5LBS
Women's Medical Center | 1st floor WOR 3 | 761164 | F69491714 | W1-28 | BC | 5LBS
Women's Medical Center | 1st floor WOR 7 | 761652 | H28955474 | W1-30 | BC | 5LBS
Women's Medical Center | 1st floor WOR 6 | 761179 | F69491708 | W1-31 | BC | 5LBS
Women's Medical Center | 1st floor WOR 5 | 761162 | F69491694 | W1-32 | BC | 5LBS
Women's Medical Center | 1st floor WOR 1 | 761163 | F69491707 | W1-33 | BC | 5LBS
Women's Medical Center | 1st floor WOR 2 | 761165 | F69491711 | W1-32 | BC | 5LBS
Women's Medical Center | 1st floor Robot WOR 9 | 761160 | F69491710 | W1-35 | BC | 5LBS
Women's Medical Center | 1st floor Robot WOR 8 | 761159 | F69491709 | W1-36 | BC | 5LBS
Women's Medical Center | 1st floor Robot WOR 10 | 281813 | I17717031 | W1-37 | BC | 5LBS
Women's Medical Center | 1st floor by WOR 10 | 761180 | F69491713 |  | ABC | 5LBS
Women's Medical Center | Inside womens Dr's Lounge | 761779 | I06594093 | W1-38 | BC | 5LBS
Women's Medical Center | 1st floor Womens Surgery in PACU | 761651 | F01497357 | W1-39 | ABC | 5LBS
Women's Medical Center | 2nd floor hall by stair 22/OB HG rm | 761589 | F51149679 | WC2-01 | ABC | 5LBS
Women's Medical Center | 2nd floor inner hall by ET office | 281810 | F72245570 | WC2-02 | ABC | 5LBS
Women's Medical Center | 2nd floor hall by room 2025 | 761646 | G31902920 | WC2-03 | ABC | 5LBS
Women's Medical Center | 2nd floor hall by room 2015 | 761645 | G31902939 | WC2-04 | ABC | 5LBS
Women's Medical Center | 2nd floor hall by dayroom | 411670 | F72245482 | WC2-05 | ABC | 10LBS
Women's Medical Center | 2nd floor hall by room 2003 | 761781 | I17695190 | WC2-06 | ABC | 5LBS
Women's Medical Center | 2nd floor hall by room 266 | 761780 | I16006919 | WC2-07 | ABC | 10LBS
Women's Medical Center | 3rd floor Specialty Select hall by stair 22 | 281825 | F72245471 | MHW3-01 | ABC | 5LBS
Women's Medical Center | 3rd floor Specialty Select hall by rm 3323 | 281807 | F72245446 | MHW3-03 | ABC | 5LBS
Women's Medical Center | 3rd floor Specialty Select hall by rm 3314 | 281795 | F72245551 | MHW3-04 | ABC | 5LBS
Women's Medical Center | 3rd floor Specialty Select hall by OT/PT gym | 761588 | F46778767 | MHW3-05 | ABC | 10LBS
Women's Medical Center | 3rd floor Specialty Select hall by rm 3328 | 281803 | F72245533 | MHW-06 | ABC | 5LBS
Women's Medical Center | 3rd floor Specialty Select hall by rm 3309 | 761782 | I15987907 | MHW-07 | ABC | 5LBS
Women's Medical Center | 3rd floor hall by staff only office/doors to lobby | 761789 | I16007465 | WT3-01 | ABC | 5LBS
Women's Medical Center | 3rd floor hall by room 3017 | 281821 | F72245466 | WT3-02 | ABC | 5LBS
Women's Medical Center | 3rd floor L&D OR 2 | 761791 | I15998324 | WT3-03 | ABC | 5LBS
Women's Medical Center | 3rd floor L&D OR 1 | 761792 | I15991568 | WT3-04 | ABC | 5LBS
Women's Medical Center | 3rd floor L&D OR 3 | 761793 | I16007467 | WT3-01 | ABC | 5LBS
Women's Medical Center | 3rd floor L&D OR 4 | 761794 | I16006916 | WT3-05 | ABC | 5LBS
Women's Medical Center | 3rd floor hall by room 3007 | 761790 | I15991571 | WT3-06 | ABC | 5LBS
Women's Medical Center | 3rd floor hall by room 3001 | 761305 | G13246830 | WT3-07 | ABC | 5LBS
Women's Medical Center | 4th floor hall by staff only office/doors to lobby | 761795 | I15995284 | WT4-01 | ABC | 5LBS
Women's Medical Center | 4th floor hall by suite 1 | 761787 | I16006915 | WT4-02 | ABC | 5LBS
Women's Medical Center | 4th floor NS by room 4018 A/B | 411591 | AH197571 | WT4-03 | ABC | 5LBS
Women's Medical Center | 4th floor mech rm by rm 478 upper platform | 761788 | I15987905 |  | ABC | 5LBS
Women's Medical Center | 4th floor roof (through mech rm by rm 478) | 281837 | F72245489 | E4-05 | ABC | 5LBS
Women's Medical Center | 4th floor mech rm by rm 478 | 761713 | I17713240 | E4-06 | ABC | 10LBS
Women's Medical Center | 4th floor hall by EVS closet | 281829 | F72245480 | WT4-04 | ABC | 5LBS
Women's Medical Center | 5th floor at stair 25 by room 5028 | 761797 | I15987908 | WT5-01 | ABC | 5LBS
Women's Medical Center | 5th floor center hall by NS | 281738 | F72245492 | WT5-02 | ABC | 5LBS
Women's Medical Center | 5th floor center hall by EVS closet | 761796 | I16007466 | WT5-03 | ABC | 5LBS
Women's Medical Center | 5th floor by room 5012 | 761114 | F70314305 | WT5-04 | ABC | 5LBS
Women's Medical Center | 5th floor lily pad nursery | 761144 | F59541627 | WT5-05 | ABC | 5LBS
Women's Medical Center | 6th floor center hall by NS | 761798 | I06602184 | WT6-01 | ABC | 5LBS
Women's Medical Center | 6th floor by room 6012 | 761800 | I16007463 | WT6-02 | ABC | 5LBS
Women's Medical Center | 6th floor lily pad nursery | 761649 | G31902899 | WT6-03 | ABC | 5LBS
Women's Medical Center | 6th floor center hall by elevators 4/5 lobby | 761799 | I15995282 | WT6-04 | ABC | 5LBS
Women's Medical Center | 6th floor at stair 25 by room 6028 | 761801 | I15995283 | WT6-05 | ABC | 5LBS
Women's Medical Center | P2 garage right of elevators | 761306 | G13246827 | WTPD-P2-01 | ABC | 10LBS
Women's Medical Center | P2 garage by entrance only ramp | 411718 | F722454491 | WTPD-P2-02 | ABC | 10LBS
Women's Medical Center | P2 garage middle mech room | 761303 | G13248878 | WTPD-P2-03 | ABC | 5LBS
Women's Medical Center | P2 garage at stair 24 by storage rm | 761803 | I16007464 | WTPD-P2-04 | ABC | 5LBS
Women's Medical Center | P2 garage back left wall in corner | 761802 | I17695188 | WTPD-P2-05 | ABC | 10LBS
Women's Medical Center | P1 garage back right wall by stair 24 | 761804 | I17717028 | WTPD-P1-01 | ABC | 5LBS
Women's Medical Center | P1 garage back left electrical rm | 761807 | I07098498 | WTPD-P1-03 | ABC | 10LBS
Women's Medical Center | P1 garage inside chiller room | 761805 | I15991569 | WTPD-P1-04 | PK | 20LBS
Women's Medical Center | P1 garage outside elevator mach rm at elevators 4/5 | 761811 | I17717024 | WTPD-P1-05 | ABC | 10LBS
Women's Medical Center | P1 garage inside boiler room | 761593 | F58421755 | WTPD-P1-06 | ABC | 5LBS
Women's Medical Center | P1 garage wall left of Brookwood sign | 761808 | I17713230 | WTPD-P1-07 | BC | 5LBS
Women's Medical Center | P1 right of main elevator lobby for 1/2/3 | 411865 | F72245494 | WTPD-P1-08 | ABC | 10LBS
Women's Medical Center | P1 garage wall by stair 25 | 761812 | I17713230 | WTPD-P1-09 | ABC | 10LBS
Women's Medical Center | P1 garage back right electrical rm by stair 24 | 761806 | I07098501 | WTPD-P1-10 | ABC | 10LBS
Women's Medical Center | P1 garage in elevator mech rm | 761810 | I17713235 | WTPD-P1-12 | ABC | 10LBS
Women's Medical Center | P1 garage fuel storage/mech rm | 281780 | F72245519 |  | ABC | 10LBS
Women's Medical Center | P1 outside electrical rm | 761809 | i17695174 |  | BC | 10LBS
Women's Medical Center | 1st floor hall by Impact suite 101 | 761786 | I17717030 | WMP-106 | ABC | 10LBS
Women's Medical Center | 1st floor Womens Surgery hall to WMC atrium/elevators | 411541 | F72245475 | WMP-107 | ABC | 5LBS
Employee Parking Deck | EPD warehouse entrance | 411972 | I17714132 | EPDW-01 | ABC | 10LBS
Employee Parking Deck | EPD warehouse southeast breakroom | 761877 | I17717025 | EPDW-02 | ABC | 10LBS
Employee Parking Deck | EPD warehouse southwest fire exit | 411976 | I17713238 | EPDW-03 | ABC | 10LBS
Employee Parking Deck | EPD warehouse center | 411975 | I17717026 | EPDW-04 | ABC | 10LBS
Employee Parking Deck | EPD LG north entrance panic station | 761314 | G16810013 | EPDG-01 | ABC | 10LBS
Employee Parking Deck | EPD LG tramshop inside north door | 281742 | I17717033 | EPDG-03 | ABC | 10LBS
Employee Parking Deck | EPD LG tramshop roll up door | 761010 | F46781486 |  | ABC | 10LBS
Employee Parking Deck | EPD LG tramshop inside south door | 761634 | F70313467 | EPDG-04 | ABC | 10LBS
Employee Parking Deck | EPD next to north exit road | 411664 | I17706463 | EPDG-05 | ABC | 10LBS
Employee Parking Deck | EPD east entrance outside tramshop | 761610 | I17695171 | EPDG-05 | ABC | 10LBS
Employee Parking Deck | EPD LG westside EVS storage | 411967 | F70313781 | EPDG-06 | ABC | 10LBS
Employee Parking Deck | EPD LG east stariwell C | 761088 | F70313782 | EPDG-07 | ABC | 10LBS
Employee Parking Deck | EPD L1 North entrance stairwell C | 761342 | G16807134 | EPD1-02 | ABC | 10LBS
Employee Parking Deck | EPD Maintenance shop north | 761419 | F88832394 | EPD1-06 | ABC | 10LBS
Employee Parking Deck | EPD LN1 outside maintenance storage | 761874 | I17713730 | EPD1-06 | ABC | 10LBS
Employee Parking Deck | EPD L1 southside center | 411963 | F70314314 | EPD1-08 | ABC | 10LBS
Employee Parking Deck | EPD L1 E elevator lobby panic station | 761875 | I17713231 | EPD1-09 | ABC | 10LBS
Employee Parking Deck | EPD L2 elevator lobby | 281751 | I17695170 | EPD2-01 | ABC | 10LBS
Employee Parking Deck | EPD L2 westside center | 761334 | G15034667 | EPD2-02 | ABC | 10LBS
Employee Parking Deck | EPD L2 southside panic station | 761337 | G16812997 | EPD2-03 | ABC | 10LBS
Employee Parking Deck | EPD L2 eastside center/ south | 761347 | G16810525 | EPD2-04 | ABC | 10LBS
Employee Parking Deck | EPD L2 northside canter stair C | 761876 | I17717027 | EPD2-05 | ABC | 10LBS
Employee Parking Deck | EPD L2 eastside center north | 761336 | G15022778 | EPD2-06 | ABC | 10LBS
Employee Parking Deck | EPD L2 center middle | 761299 | G16812290 | EPD2-07 | ABC | 10LBS
Employee Parking Deck | EPD L3 center / south | 761873 | I17713225 | EPD3-01 | ABC | 10LBS
Employee Parking Deck | EPD L3 southside panic station | 281752 | I17713722 | EPD3-02 | ABC | 10LBS
Employee Parking Deck | EPD L3 westside center | 761871 | I17717021 | EPD3-03 | ABC | 10LBS
Employee Parking Deck | EPD L3 westside elevator lobby | 761332 | G16810522 | EPD3-04 | ABC | 10LBS
Employee Parking Deck | EPD L3 northside stair B | 761298 | G09728329 | EPD3-05 | ABC | 10LBS
Employee Parking Deck | EPD L3 northside stair C | 761036 | F70313779 | EPD3-06 | ABC | 10LBS
Employee Parking Deck | EPD L3 eastside center / north | 761872 | I17713726 | EPD3-07 | ABC | 10LBS
Employee Parking Deck | EPD L3 center | 761870 | I17713234 | EPD3-08 | ABC | 10LBS
Employee Parking Deck | EPD L4 Eastside center / south | 761868 | I17695178 | EPD4-01 | ABC | 10LBS
Employee Parking Deck | EPD L4 southside panic station | 761864 | I17713739 | EPD4-02 | ABC | 10LBS
Employee Parking Deck | EPD L4 westside center | 761865 | I17840928 | EPD4-03 | ABC | 10LBS
Employee Parking Deck | EPD L4 westside elevator lobby | 761866 | I17645186 | EPD4-04 | ABC | 10LBS
Employee Parking Deck | EPD L4 northstair B | 281743 | F44671117 | EPD4-05 | ABC | 10LBS
Employee Parking Deck | EPD L4 northside stair C | 411687 | F44671124 | EPD4-06 | ABC | 10LBS
Employee Parking Deck | EPD L4 eastside center / north | 761867 | I17713232 | EPD4-07 | ABC | 10LBS
Employee Parking Deck | EPD L4 center | 761864 | I17713735 | EPD4-08 | ABC | 10LBS
Employee Parking Deck | EPD L5 eastside center / south | 761860 | I17714747 | EPD5-01 | ABC | 10LBS
Employee Parking Deck | EPD L5 south panic station | 761863 | I17714131 | EPD5-02 | ABC | 10LBS
Employee Parking Deck | EPD L5 east center north | 761862 | I17707049 | EPD5-03 | ABC | 10LBS
Employee Parking Deck | EPD L5 westside elevatory lobby | 761861 | I17695182 | EPD5-04 | ABC | 10LBS
Employee Parking Deck | EPD L5 northside stair B | 761609 | F46777804 | EPD5-05 | ABC | 10LBS
Employee Parking Deck | EPD L5 northside stair C | 411757 | I17699527 | EPD5-06 | ABC | 10LBS
Employee Parking Deck | EPD L5 center / south | 761313 | G16810526 | EPD5-07 | ABC | 10LBS
Employee Parking Deck | EPD L5 center | 761859 | I17694526 | EPD5-08 | ABC | 10LBS
Employee Parking Deck | EPD L6 eastside center / north | 761858 | I17707045 | EPD6-01 | ABC | 10LBS
Employee Parking Deck | EPD L6 southside center | 281756 | I17695187 | EPD6-02 | ABC | 10LBS
Employee Parking Deck | EPD L6 westside center panic station | 761343 | G16812992 | EPD6-03 | ABC | 10LBS
Employee Parking Deck | EPD L6 westside elevator lobby | 281754 | I17695179 | EPD6-04 | ABC | 10LBS
Employee Parking Deck | EPD L6 northside stair B | 761857 | I17707048 | EPD6-05 | ABC | 10LBS
Employee Parking Deck | EPD L6 northside stair C | 761619 | F44671129 | EPD6-06 | ABC | 10LBS
Employee Parking Deck | EPD L6 center / south | 281753 | E1149433 | EPD6-07 | ABC | 10LBS
Employee Parking Deck | EPD L6 center | 411910 | F44671127 | EPD6-08 | ABC | 10LBS
Employee Parking Deck | EPD L7 eastside / south | 761348 | G16810015 | EPD7-01 | ABC | 10LBS
Employee Parking Deck | Employee stairwell D | 761346 | G0972371 | EPD7-02 | ABC | 10LBS
Employee Parking Deck | EPD L7 westside / south stair E | 761350 | G16812291 | EPD7-03 | ABC | 10LBS
Employee Parking Deck | EPD L7 next to elevator lobby entrance | 761351 | G16812998 | EPD7-04 | ABC | 10LBS
Employee Parking Deck | EPD L7 center west | 761340 | G09709224 | EPD7-05 | ABC | 10LBS
Employee Parking Deck | EPD L7 northside stair B | 761333 | G16807136 | EPD7-06 | ABC | 10LBS
Employee Parking Deck | EPD L7 northside stiar C | 761349 | G16810523 | EPD7-07 | ABC | 10LBS
Employee Parking Deck | EPD L7 penthouse elevator room | 761339 | G16810527 | EPDP-01 | ABC | 10LBS
Freestanding Emergency Dept | ER lobby | 411467 | H07166654 | FED-1 | ABC | 5LBS
Freestanding Emergency Dept | Hall near triage/to exam rooms | 411468 | H07166587 | FED-2 | ABC | 5LBS
Freestanding Emergency Dept | NS by exam rm 11 | 411469 | F36266973 | FED-3 | ABC | 10LBS
Freestanding Emergency Dept | NS by exam rm 7 | 411470 | H07166567 | FED-4 | ABC | 5LBS
Freestanding Emergency Dept | NS by exam rm 5 | 411471 | B04733981 | FED-5 | ABC | 10LBS
Freestanding Emergency Dept | NS by exam rooms | 411472 | F36266899 | FED-6 | ABC | 10LBS
Freestanding Emergency Dept | ER ambulance entry | 411473 | B04731615 | FED-7 | ABC | 10LBS
Freestanding Emergency Dept | Staff break room | 411474 | H07166568 | FED-8 | ABC | 5LBS
Freestanding Emergency Dept | By MRI (water 2.5gal) | 411475 | F36266906 | FED-9 | ABC | 10LBS
Freestanding Emergency Dept | Diagnostic MRI | 411476 | B10292851 | FED-10 | ABC | 10LBS
Freestanding Emergency Dept | Employee entrance by voice/data rm | 411477 | H07166655 | FED-11 | ABC | 5LBS
Freestanding Emergency Dept | Electrical rm by employee entrance | 411478 | H07166645 | FED-12 | ABC | 5LBS
Freestanding Emergency Dept | By DXA/ultrasound | 411479 | A95587904 | FED-13 | ABC | 5LBS
Freestanding Emergency Dept | Voice/data rm by employee entrance | 411480 | H07166648 | FED-14 | ABC | 5LBS
Freestanding Emergency Dept | Electrical room by employee entrance | 411481 | H07166535 | FED-15 | ABC | 5LBS
Freestanding Emergency Dept | Diagnostic lobby | 411482 | H07166553 | FED-16 | ABC | 5LBS
Freestanding Emergency Dept | Med gas room 1 outside | 411483 | H07166594 | FED-17 | ABC | 5LBS
Freestanding Emergency Dept | Med gas room 2 outside | 411484 | F36266904 | FED-18 | ABC | 10LBS
Freestanding Emergency Dept | Decontamination room | 411485 | F36266907 | FED-19 | ABC | 10LBS
Freestanding Emergency Dept | Boiler room | 411486 | H07166621 | FED-20 | ABC | 10LBS
Freestanding Emergency Dept | Electrical Closet by conference room |  | H07166627 | FED-21 | ABC | 5LBS
Freestanding Emergency Dept | Helipad | 71703120 | OM-QAMU-F500-100L |  | F500 | 100L/26GAL
Main - North Tower - Psych | Gr fl Cancer Center main entrance by soiled utl rm | 761598 | F44671156 | EG-01 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Cancer Center hall next to mech rm | 761321 | G16812994 | EG-02 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Cancer Center conference room | 761597 | F44671152 | EG-04 | ABC | 10LBS
Main - North Tower - Psych | Gr fl mech rm across from Cancer Center at vending |  | F44671165 | EG-05 | ABC | 10LBS
Main - North Tower - Psych | Gr fl by East Main elevator | 761569 | F46781819 | EG-06 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Clinical lab core lab | 281823 | G31902898 | MHG-07 | ABC | 5LBS
Main - North Tower - Psych | Gr fl Clinical lab by receiving | 281801 | H07166657 | MHG-07A | ABC | 5LBS
Main - North Tower - Psych | Gr fl mech rm across from core lab | 761307 | G16809107 | MHG-08 | ABC | 10LBS
Main - North Tower - Psych | Gr fl blood bank rm | 761140 | F70314322 | MHG-09 | ABC | 10LBS
Main - North Tower - Psych | Gr fl physicians parking by mech rm | 761768 | I17695172 | MHG-10 | ABC | 10LBS
Main - North Tower - Psych | Gr fl physicians parking mech rm by phys. Entrance | 761628 | G16810018 | MHG-11 | ABC | 10LBS
Main - North Tower - Psych | Gr fl physicians parking air handler room | 761115 | F70303694 | MHG-12 | ABC | 10LBS
Main - North Tower - Psych | Gr fl HVAC 6007 | 761699 | E93397384 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl Emergency Electrical 6006 | 761703 | F96703811 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl Electrical 6005 | 761702 | H26371281 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl IDF Room 6004 | 761701 | H20309654 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl HVAC 6002 | 761698 | H20321057 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl Entrance to Doctors Parking Ground | 761696 | F96703856 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl hallway by blood bank | 761570 | E77822753 | MHG-13 | ABC | 10LBS
Main - North Tower - Psych | Gr fl hallway at Pathology | 761316 | G13245593 | MHG-14 | ABC | 5LBS
Main - North Tower - Psych | Gr fl Pharmacy | 761574 | E77613032 | MHG-16 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Pharmacy | 761697 | F44671112 | MHG-17 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Pharmacy office | 761760 | I17720543 | MHG-18 | ABC | 5LBS
Main - North Tower - Psych | Gr fl central supply storage |  | F44671120 | MHG-19 | ABC | 10LBS
Main - North Tower - Psych | Gr fl EVS washroom | 761134 | F70303698 | MHG-20 | ABC | 10LBS
Main - North Tower - Psych | Gr fl physicians parking North tower elevator room | 761769 | I17713229 |  | ABC | 5LBS
Main - North Tower - Psych | Gr fl sterile processing back hall | 761575 | F65799789 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl sterile processing dept back door | 761582 | F62645479 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl sterile processing by steam 1 | 761581 | F62647545 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl sterile processing by back door | 761579 | E77614031 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl sterile processing by tools | 761580 | F59187417 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl Sterile Processing dirty side exit | 761578 | F62645480 | MHG-24 | ABC | 10LBS
Main - North Tower - Psych | Gr fl loading dock by door | 761576 | F46777799 | MHG-27 | ABC | 10LBS
Main - North Tower - Psych | Gr fl sterile processing dirty side by riser room | 761577 | F62646818 | MHG-28 | ABC | 20LBS
Main - North Tower - Psych | Gr fl main hall by boiler room | 761762 | I17694806 | MHG-29 | ABC | 10LBS
Main - North Tower - Psych | Gr fl maintenance shop by uniforms | 411867 | AU462749 | MHG-30 | ABC | 10LBS
Main - North Tower - Psych | Gr fl maintenance shop by plumbers shop | 761139 | F70313475 | MHG-31 | ABC | 10LBS
Main - North Tower - Psych | Gr fl mech rm by sterile processing (trash hall) | 761584 | E77614030 | MHG-30A | ABC | 10LBS
Main - North Tower - Psych | Gr fl by gr fl maintenance shop | 761135 | F59522807 | MHG-31 | ABC | 10LBS
Main - North Tower - Psych | Gr fl boiler rm control rm by exit | 761755 | I15995281 | MHG-32 | ABC | 5LBS
Main - North Tower - Psych | Gr fl maintenance fire panel room | 761758 | I07098503 | MHG-33 | BC | 10LBS
Main - North Tower - Psych | Gr fl electrical closet across from Node 3 LTC | 764757 | I07098502 | MHG-34 | BC | 10LBS
Main - North Tower - Psych | Gr fl boiler room bottom of stairs |  | F44671125 | MHG-35 | ABC | 10LBS
Main - North Tower - Psych | Gr fl upper boiler room by main elec rm | 761130 | F70312771 | MHG-36 | ABC | 20LBS
Main - North Tower - Psych | Gr fl main elec switch gear 03 | 761754 | C94508498 | MHG-44 | ABC | 10LBS
Main - North Tower - Psych | Gr fl upper boiler roomexit door to alley |  | F44671153 | MHG-37 | ABC | 10LBS
Main - North Tower - Psych | Gr fl kitchen patient services next to hood sys pull | 761774 | I09863361 |  | K | 10LBS
Main - North Tower - Psych | Gr fl kitchen prep next to hood systems pull | 761318 | G05670146 |  | K | 10LBS
Main - North Tower - Psych | Gr fl kitchen by double doors | 761571 | F46779136 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl kitchen by production managed cooler | 761772 | I17696496 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl kitchen by canned soft drink storage | 761771 | I19694808 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl retail dietary behind cashiers | 761006 | F46778766 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl retail dietary by dining rm double doors |  | F44671115 |  | ABC | 10LBS
Main - North Tower - Psych | Gr fl kitchen by dairy cooler 4 | 761272 | G16809103 | MHG-05 | ABC | 10LBS
Main - North Tower - Psych | Gr fl kitchen prep under duct system | 761773 | I09863359 | MHG-38 | BC | 10LBS
Main - North Tower - Psych | Gr fl kitchen retail grill next to hood sys pull | 761775 | I09863358 | MHG-39 | BC | 10LBS
Main - North Tower - Psych | Gr fl mechanical room in stair 10 | 761568 | E77739344 | MHG-40 | ABC | 10LBS
Main - North Tower - Psych | GR fl Cancer center mechanical room | 281802 | F44671154 | MHG-43 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Cancer Center corner mech rm | 281746 | F44671145 | MHG-41 | ABC | 10LBS
Main - North Tower - Psych | Gr fl North tower elevator 34/35 lobby | 761770 | I17695175 | MHG-42 | ABC | 10LBS
Main - North Tower - Psych | 1st fl hall by gift shop | 761296 | G13246834 | E1-01 | ABC | 5LBS
Main - North Tower - Psych | East hall next to Neonatal Nurse office near gift shop | 761276 | G16807133 | W1-25 | ABC | 10LBS
Main - North Tower - Psych | 1st floor by Chaplain | 281824 | H07164643 | W1-26 | ABC | 5LBS
Main - North Tower - Psych | 1st fl main hall by respiratory therapy | 761566 | F51146696 |  | ABC | 5LBS
Main - North Tower - Psych | 1st fl respiratory breakroom | 411835 | H07166606 | MH1-75 | ABC | 5LBS
Main - North Tower - Psych | 1st fl transportation breakroom | 761677 | G31902893 | MH1-02 | ABC | 5LBS
Main - North Tower - Psych | 1st fl hallway by chapel | 281799 | H07164673 | MH1-03 | ABC | 5LBS
Main - North Tower - Psych | 1st fl bedshop by chapel | 761277 | G16810010 | MH1-05 | ABC | 10LBS
Main - North Tower - Psych | 1st fl anesthesia breakroom | 761744 | I17695173 | MH1-82 | ABC | 10LBS
Main - North Tower - Psych | 1st fl MRI control rm hall | 761563 | F58464870 | MH1-06 | water | 10LBS
Main - North Tower - Psych | 1st fl cardiology non-invasive hall by rm 3 | 761559 | E77739594 | MH1-07 | ABC | 10LBS
Main - North Tower - Psych | 1st fl radiology hall by control rm near CT scan suite | 761141 | F70314307 | MH1-09 | ABC | 10LBS
Main - North Tower - Psych | 1st fl MRI hallway | 761742 | I17720548 | MH1-10 | ABC | 10LBS
Main - North Tower - Psych | 1st fl ultrasound suite hall | 281826 | F96657955 |  | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER hall by radiology entry | 761743 | I17696504 | MH1-11 | ABC | 10LBS
Main - North Tower - Psych | 1st fl x-ray hallway | 761271 | G16810520 | MH1-12 | ABC | 10LBS
Main - North Tower - Psych | 1st fl nuclear med hallway by rm 5 | 761564 | F51141180 | MH1-13 | ABC | 5LBS
Main - North Tower - Psych | 1st fl nuclear med hallway by rm 5 | 761565 | F51146694 | MH1-14 | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER hall next to room 9 | 761280 | G15022779 | MH1-15 | ABC | 10LBS
Main - North Tower - Psych | 1st fl ER hall next to room 4 | 761285 | G13245270 | MH1-16 | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER hall next to room 16 | 761323 | F99909375 | MH1-17 | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER font hall next to Triage A | 761326 | F99909943 | MH1-18 | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER entrance main hall | 761273 | G16812996 | MH1-19 | ABC | 5LBS
Main - North Tower - Psych | 1st fl ER hall by MOB B elevators 22/23/24 | 761672 | F44671116 | MH1-20 | ABC | 10LBS
Main - North Tower - Psych | 1st fl side exit by entrance to Cath Lab | 761138 | F70312772 | MH1-23 | ABC | 10LBS
Main - North Tower - Psych | 1st fl Neurodiagnostics | 761491 | F70303132 | MH1-24 | ABC | 10LBS
Main - North Tower - Psych | 1st floor hall leading to Emergency room | 761719 | I17696492 | MH1-27 | ABC | 10LBS
Main - North Tower - Psych | 1st floor elevator lobby 4/5 by PACU | 761279 | G15035228 | MH1-28 | ABC | 10LBS
Main - North Tower - Psych | 1st floor PACU hall by nurse mananger office | 411809 | G13245589 | MH1-29 | ABC | 5LBS
Main - North Tower - Psych | 1st floor PACU hall by bay 4 | 411808 | G31902913 | MH1-30 | ABC | 5LBS
Main - North Tower - Psych | 1st floor hall by Pre-Op/CRNA holding rm | 761297 | G32455591 | MH1-31 | ABC | 5LBS
Main - North Tower - Psych | 1st floor MOR corridor across OR 6 | 281796 | F59539402 | MH1-32 | ABC | 5LBS
Main - North Tower - Psych | 1st floor MOR anestesia work room (M-1) | 411989 | H07164690 | MH1-33 | BC | 5LBS
Main - North Tower - Psych | 1st floor MOR corridor across MOR pharmacy | 761721 | H26371269 | MH1-34 | ABC | 5LBS
Main - North Tower - Psych | 1st floor MOR corridor by stair 5 | 761663 | F44671141 | MH1-35 | ABC | 10LBS
Main - North Tower - Psych | 1st floor MOR corridor by OR 17 | 761664 | F44671150 | MH1-36 | ABC | 10LBS
Main - North Tower - Psych | 1st floor MOR corridor by OR 11 | 761665 | F44671146 | MH1-37 | ABC | 10LBS
Main - North Tower - Psych | 1st floor MOR corridor near ice machine/storage | 761631 | F70313785 | MH1- | ABC | 5LBS
Main - North Tower - Psych | 1st fl sterile supply next to MOR EVS closet | 761666 | F44671151 | MH1-38 | ABC | 10LBS
Main - North Tower - Psych | OR hall across from nurses station | 761495 | G-16807130 | MH1-39 | ABC | 10LBS
Main - North Tower - Psych | 1st fl MOR elevator mech rm | 761630 | F88861954 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Pre-Op entrance by NS | 761132 | F59543265 | MH1-40 | ABC | 5LBS
Main - North Tower - Psych | 1st fl Pre-Op by bay 24 | 761131 | F59540926 | MH1-41 | ABC | 5LBS
Main - North Tower - Psych | 1st fl hall by PACU entrance | 761021 | F51146700 | MH1-42 | ABC | 5LBS
Main - North Tower - Psych | 1st fl roof mechanical rm. Outside | 761557 | E77739595 | MH1-80 | ABC | 5LBS
Main - North Tower - Psych | 1st fl GI lab Post-Op hall by bay 2 | 411800 | G31902940 | MH1-43 | ABC | 5LBS
Main - North Tower - Psych | 1st fl GI lab Pre-Op hall by bay 5 | 761045 | E94095895 | MH1-44 | ABC | 5LBS
Main - North Tower - Psych | 1st fl GI Lab MP-1 procedure rm 120 | 761049 | H33684670 |  | BC | 5LBS
Main - North Tower - Psych | 1st fl GI Lab MP-2 procedure rm 11 | 761047 | H33685703 |  | BC | 5LBS
Main - North Tower - Psych | 1st fl GI Lab MP-3 procedure rm 121 | 761048 | H33684640 |  | BC | 5LBS
Main - North Tower - Psych | 1st fl GI Lab MP-4 procedure rm 109 | 761046 | H33684643 |  | BC | 5LBS
Main - North Tower - Psych | 1st fl main hall btw admitting and administration | 761671 | G31902886 | MH1-45 | ABC | 5LBS
Main - North Tower - Psych | 1st fl Administration offices hallway | 761731 | I17696490 | MH1-46 | ABC | 10LBS
Main - North Tower - Psych | 1st fl Administration hall by rear exit | 761732 | I17694801 | MH1-47 | ABC | 10LBS
Main - North Tower - Psych | 1st fl admitting area | 761733 | I17696494 | MH1-48 | ABC | 10LBS
Main - North Tower - Psych | 1st fl main hall behind admitting desk | 761556 | F65792779 | MH1-49 | ABC | 10LBS
Main - North Tower - Psych | 1st fl main hall by admitting | 761552 | E93397386 | MH1-50 | ABC | 10LBS
Main - North Tower - Psych | 1st fl Daily Grind shop in the back | 761284 | G13246831 | MH1-51 | ABC | 10LBS
Main - North Tower - Psych | 1st fl giftshop stock room | 411793 | BE842473 | MH1-81 | ABC | 10LBS
Main - North Tower - Psych | New PACU electrical room | 761728 | H26371290 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl MOR 21 | 761171 | H33684634 | MH1-52 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 20 | 761156 | H33684644 | MH1-53 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 6 | 761157 | H33684639 | MH1-57 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 7 | 411749 | H33684636 | MH1-58 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 12 | 411546 | AB391216 | MH1-62 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 22 | 411539 | AB391221 | MH1-63 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 23 | 761161 | F69491696 | MH1-64 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 24 | 411547 | H33689641 | MH1-65 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 15 | 411745 | H33684633 | MH1-66 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 14 | 761172 | F69491781 | MH1-67 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 12 | 411556 | AB391196 | MH1-68 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 11 | 761400 | F87311645 | MH1-69 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 18 | 411543 | AB391236 | MH1-70 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 17 | 411548 | AB391210 | MH1-71 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR sterile supply next to OR 23 | 761667 | F44671118 | MH1-76 | ABC | 10LBS
Main - North Tower - Psych | 1st fl MOR 16 | 411742 | AB391200 | MH1-72 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR 19 | 281688 | H33684673 | MH1-73 | BC | 5LBS
Main - North Tower - Psych | 1st fl MOR sterile supply next to entry/exit door | 761720 | I17713725 | MH1-74 | BC | 5LBS
Main - North Tower - Psych | Across from OR 16 | 411750 | F7224547473 |  | ABC | 10LBS
Main - North Tower - Psych | Across from OR 2 | 761678 | H26371284 |  | ABC | 10LBS
Main - North Tower - Psych | Storage hall by East Stairwell | 761679 | H26371293 |  | ABC | 10LBS
Main - North Tower - Psych | OR 1 | 761680 | I02316455 |  | ABC | 10LBS
Main - North Tower - Psych | OR 2 | 761681 | I02316457 |  | ABC | 10LBS
Main - North Tower - Psych | OR 3 | 761682 | I02316458 |  | ABC | 10LBS
Main - North Tower - Psych | Hall by OR 4 | 761638 | H26371285 |  | ABC | 10LBS
Main - North Tower - Psych | OR 10 | 761684 | I02316445 |  | ABC | 10LBS
Main - North Tower - Psych | OR 9 | 761685 | I02316446 |  | ABC | 10LBS
Main - North Tower - Psych | OR 8 | 761686 | I02316456 |  | ABC | 10LBS
Main - North Tower - Psych | OR 7 | 761687 | I02316451 |  | ABC | 10LBS
Main - North Tower - Psych | Between OR 6 and 7 in sterile corridor | 761688 | H26371287 |  | ABC | 10LBS
Main - North Tower - Psych | OR 6 | 761689 | I02316454 |  | ABC | 10LBS
Main - North Tower - Psych | OR 5 | 761690 | I02316449 |  | ABC | 10LBS
Main - North Tower - Psych | OR 4 | 761691 | I02316450 |  | ABC | 10LBS
Main - North Tower - Psych | Outside of 6 on the outside hall | 761692 | H26371239 |  | ABC | 10LBS
Main - North Tower - Psych | Across from OR 4 outside hall | 761693 | H26371271 |  | ABC | 10LBS
Main - North Tower - Psych | Outside equipment storage | 761694 | H26371294 |  | ABC | 10LBS
Main - North Tower - Psych | Outside Sterile Supply by east stairway | 761695 | H26371272 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab hall by Cath Lab rm 1 | 761562 | F59184159 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab hall by electrical rm | 761561 | E77613028 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab hall by EVS closet | 761560 | F59185558 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab Hybrid OR control rm | 761734 | I17696513 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab Hybrid OR server rm (left) | 761736 | I17717286 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab Hybrid OR server rm (right) | 761735 | I17696506 |  | ABC | 10LBS
Main - North Tower - Psych | 1st fl Cath Lab Hybrid OR suite | 281848 | H01503810 |  | CO2 | 30LBS
Main - North Tower - Psych | 2nd fl 251-269 hall btw rms 251&253 | 761706 | I15998326 | E2-01 | ABC | 5LBS
Main - North Tower - Psych | 2nd fl 271-288 hall btw rms 281&283 | 411915 | G21329093 | E2-02 | ABC | 5LBS
Main - North Tower - Psych | 2nd fl mech rm West main elevator 6/7 lobby | 761275 | G16807138 | E2-03 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl CVSU rms 235-238 next to exit door | 761330 | G16809100 | MH2-1 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl CVSU rms 239-248 btw rms 244&246 | 761710 | I17694814 | MH2-02 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl CVSU Recovery by 6 at double exit doors | 761668 | F44671137 | MH2-03 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl CVSU back entrance | 761726 | I17720530 | MH2-04 | BC | 5LBS
Main - North Tower - Psych | 2nd fl MICU next to clean utility rm | 761711 | I17720532 | MH2-05 | BC | 5LBS
Main - North Tower - Psych | 2nd fl MICU mechanical room | 761712 | I17696501 | MH2-22 | BC | 5LBS
Main - North Tower - Psych | 2nd fl Dialysis next to entry door | 761322 | G15010901 | MH2-06 | BC | 5LBS
Main - North Tower - Psych | 2nd fl outside of dialysis | 761725 | I17717289 | MH2-07 | BC | 5LBS
Main - North Tower - Psych | 2nd fl main hall at fire doors and time clock | 761325 | G15020369 | MH2-08 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl at East main elevators 4/5 behind NS | 761724 | I17717279 | MH2-09 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl 216-229 hall by rm 227 | 761329 | F99711424 | MH2-10 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl next to roof access door | 761328 | G16809105 | MH2-11 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl at smk doors by EBR | 761741 | I17720541 | MH2-12 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl PRC hall by exercise rm back door | 761740 | I17717274 | MH2-13 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl PRC kitchen | 761324 | G16809106 | MH2-14 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl PRC lounge/help desk | 761327 | G15033648 | MH2-15 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl hall before BMP crosswalk | 761739 | I15991570 | MH2-16 | ABC | 5LBS
Main - North Tower - Psych | 2nd fl inside medical records by coding | 761670 | F44671126 | MH2-17 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl inside medical records break room | 761669 | F44671155 | MH2-18 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl inside medical records staff entrance | 761738 | I17717273 | MH2-19 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl by North Tower elevators 34/35 by med recds | 761737 | I17720540 | MH2-20 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl 201-215 hall btw rms 207&209 | 761707 | I17717290 | MH2-21 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl roof AHU2-6 mech rm A | 761723 | I17696500 | MH2P-01 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl roof AHU2-6 mech rm B | 761722 | I17720546 | MH2P-02 | ABC | 10LBS
Main - North Tower - Psych | 2nd fl Crosswalk to BMP 1 | 761497 | F72245470 |  | ABC | 10LBS
Main - North Tower - Psych | 2nd fl Crosswalk to BMP 2 | 411896 | V-625201 |  | ABC | 10LBS
Main - North Tower - Psych | 3rd fl by stair 9 | 761000 | E77722438 |  | ABC | 10LBS
Main - North Tower - Psych | 3rd fl hall by room 363 | 761128 | F59522806 | E3-01 | ABC | 5LBS
Main - North Tower - Psych | 3rd fl hall by room 377 | 761289 | F99909040 | E3-02 | ABC | 10LBS
Main - North Tower - Psych | 3rd fl mech rm by rm 365/West main elevator 6/7 lobby | 761709 | I17699805 | E3-03 | ABC | 10LBS
Main - North Tower - Psych | 3rd fl main hall by CCU waiting room | 761662 | F44671147 | MH3-05 | ABC | 10LBS
Main - North Tower - Psych | 3rd fl hall by room 309 | 761288 | G13248880 |  | ABC | 5LBS
Main - North Tower - Psych | 3rd fl CIU buy rm 327 | 761118 | F70303131 |  | ABC | 10LBS
Main - North Tower - Psych | 3rd fl Cath Lab front entrance | 761123 | E77556184 | MH3-06 | ABC | 5LBS
Main - North Tower - Psych | 3rd fl Cath Lab control room | 761129 | F51016063 | MH3-07 | Holo | 5LBS
Main - North Tower - Psych | 3rd fl Cath Lab by EP lab 1 | 761547 | F65792640 |  | ABC | 10LBS
Main - North Tower - Psych | 3rd fl Cath Lab by EP lab 2 | 761548 | F51149676 | MH3-10 | ABC | 5LBS
Main - North Tower - Psych | 3rd fl mainhall by physician conf room | 761111 | F70247615 | MH3-08 | ABC | 10LBS
Main - North Tower - Psych | 3rd fl Coronary Care Unit | 761146 | F59541629 | MH3-09 | ABC | 10LBS
Main - North Tower - Psych | 4t fl mainhall across from soiled utility | 761700 | I77020533 | MH4-01 | ABC | 10LBS
Main - North Tower - Psych | 4th fl main hall by room 429 | 761553 | E93397383 | MH4-02 | ABC | 10LBS
Main - North Tower - Psych | 4th fl North hall scross from exit stair | 761019 | E94115788 | MH4-03 | ABC | 10LBS
Main - North Tower - Psych | 4th fl SICU by stair 10 | 761117 | F70303693 | MH4-04 | ABC | 10LBS
Main - North Tower - Psych | 4th fl SICU next to rm 4 | 761292 | G15034671 | MH4-05 | ABC | 10LBS
Main - North Tower - Psych | 4th fl hall by room 409 | 761120 | F70314316 | MH4-06 | ABC | 10LBS
Main - North Tower - Psych | 4th fl mech rm at West elv 6/7 lobby | 761294 | G15005494 | MH4-07 | ABC | 10LBS
Main - North Tower - Psych | 4th fl hall by room 459 | 761644 | G13246829 | E4-01 | ABC | 5LBS
Main - North Tower - Psych | 4th fl hall by room 485 | 761715 | I15995285 | E4-02 | ABC | 5LBS
Main - North Tower - Psych | 4th fl hall by room 472 | 761714 | I15987906 | E4-03 | ABC | 5LBS
Main - North Tower - Psych | 5th fl West hall Rehab gym (solarium) | 761092 | F59540928 | MH5-01 | ABC | 5LBS
Main - North Tower - Psych | 5th fl West hall by room 509 | 761122 | F59541626 | MH5-02 | ABC | 5LBS
Main - North Tower - Psych | 5th fl South hall by room 546 | 761109 | F70303140 | MH5-05 | ABC | 10LBS
Main - North Tower - Psych | 5th fl North hall by room 527 | 761124 | F59539404 | MH5-06 | ABC | 5LBS
Main - North Tower - Psych | 5th fl North hall across from exit stair | 761125 | F59522804 | MH5-07 | ABC | 5LBS
Main - North Tower - Psych | 5th fl East hall next to time clock | 761286 | G16809108 | MH5-08 | ABC | 10LBS
Main - North Tower - Psych | 5th fl West mechanical room | 761716 | I17696507 | MH5-09 | ABC | 10LBS
Main - North Tower - Psych | 5th fl inside NS at shred bin | 761627 | F70314308 |  | ABC | 10LBS
Main - North Tower - Psych | 5th fl NS behind desk | 761291 | G16812993
Main - North Tower - Psych | 6th fl main hall across from soiled utility closet/timeclock | 761295 | G16807140 | MH6-01 | ABC | 10LBS
Main - North Tower - Psych | 6th fl patient hall 616-629 | 761282 | G15020366 | MH6-02 | ABC | 10LBS
Main - North Tower - Psych | 6th fl patient hall 616-629 at stair 9 | 761016 | F46778273 | MH6-03 | ABC | 10LBS
Main - North Tower - Psych | 6th fl NS | 761108 | F70303133 | MH6-04 | ABC | 10LBS
Main - North Tower - Psych | 6th fl patient hall 601-612 at Rehab gym | 761119 | F70314310 | MH6-05 | ABC | 10LBS
Main - North Tower - Psych | 6th fl ADL kitchen | 761283 | G05670147 | MH6-06 | ABC | 5LBS
Main - North Tower - Psych | 6th fl patient hall 635-649 at stair 10 | 761287 | G16810017 | MH6-07 | ABC | 10LBS
Main - North Tower - Psych | 6th fl patient hall 635-649 med room | 761290 | G16809109 | MH6-08 | ABC | 10LBS
Main - North Tower - Psych | 7th fl East hall across from pantry | 761705 | I17717281 | MH7-01 | ABC | 10LBS
Main - North Tower - Psych | 7th fl NS by shred bin | 761718 | I17720544 |  | ABC | 10LBS
Main - North Tower - Psych | 7th fl West hall by room 709 | 761075 | F70241000 | MH7-03 | ABC | 10LBS
Main - North Tower - Psych | 7th fl North hall by room 743 | 761112 | F70303692 | MH7-04 | ABC | 10LBS
Main - North Tower - Psych | 7th fl by room 734 | 761704 | I1769502 | MH7-05 | ABC | 10LBS
Main - North Tower - Psych | 7th fl Mental Health IM7 next to room 726 | 761077 | F70313469 | MH7-06 | ABC | 10LBS
Main - North Tower - Psych | 7th fl Mental Health IM7 next to dayroom | 761717 | I17717284 | MH7-07 | ABC | 10LBS
Main - North Tower - Psych | Penthouse East roof elv controls mech rm exit door | 761661 | F44671131 | MHP-01 | ABC | 10LBS
Main - North Tower - Psych | Penthouse East roof elv controls mech rm | 761727 | I17717022 | MHP-02 | ABC | 10LBS
Main - North Tower - Psych | Penthouse center roof elv controls mech rm exit door | 761558 | E93374715 | MHP-03 | ABC | 10LBS
Main - North Tower - Psych | Penthouse center roof elv controls mech rm exit door | 761708 | I17713728 | MHP-04 | ABC | 10LBS
Main - North Tower - Psych | Penthouse West roof elv controls mech rm | 761293 | G16810519 | MHP-05 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health corr at pat laundry Geri offices | 761750 | I17695176 | CMHG-1 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health corr at pat laundry Geri | 761759 | I17713233 | CMHG-2 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health corr at rm 1059 IM3 | 761747 | I17713236 | CMHG-3 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health corr at stair 2 | 281797 | H07166656 | CMHG-01 | ABC | 5LBS
Main - North Tower - Psych | Gr fl Mental Health corr at IM2 doors | 281804 | H07164704 | CMHG-02 | ABC | 5LBS
Main - North Tower - Psych | Gr fl Mental Health corr at rm 017 IM2 | 761136 | F70314320 | CMHG-03 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health corr at rm 030 IM2 | 761133 | F70313473 | CMHG-04 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Mental Health physical therapy breakroom/kitchen | 761676 | F44671136 | CMHG-05 | ABC | 10LBS
Main - North Tower - Psych | LTC elevator room outside door | 281726 | D06445161 | CMHG-06 | ABC | 10LBS
Main - North Tower - Psych | P-level Mental Health corr at ADHEC recovery door | 761751 | I17713727 | CMHP-01 | ABC | 10LBS
Main - North Tower - Psych | P-level Mental Health Intake office door | 761311 | G13248879 | CMHP-07 | ABC | 10LBS
Main - North Tower - Psych | P-level Mental Health Intake med room | 411549 | AB391212 |  | ABC | 5LBS
Main - North Tower - Psych | P-level Mental Health Intake break room | 281798 | H07164672 |  | ABC | 5LBS
Main - North Tower - Psych | Intake next to clean work room | 761629 | F70303130 | CMHP-08 | ABC | 10LBS
Main - North Tower - Psych | P-level ADHEC maintenance in HVAC room | 761308 | G16809099 | CMHP-10 | ABC | 10LBS
Main - North Tower - Psych | Roof ADHEC hangning on metal barrier ADHEC wall/MH roof | 761748 | I17717023 | CMHR-11 | ABC | 10LBS
Main - North Tower - Psych | Roof Mental Health behind mech rm | 761749 | I17695169 | CMHR-12 | ABC | 10LBS
Main - North Tower - Psych | P-level ADHEC treatment area at NS and restrooms | 761673 | F44671097 | CMHP-04 | ABC | 10LBS
Main - North Tower - Psych | P-level Mental Health corr at ADHEC check-in | 761674 | F44671092 | CMHP-06 | ABC | 5LBS
Main - North Tower - Psych | P-level outisde ADHEC switch gear room | 761752 | I07098500 | CMHP-14 | CO2 | 25LBS
Main - North Tower - Psych | P-level outisde ADHEC switch gear room | 761753 | I07098504 | CMHP-15 | CO2 | 25LBS
Main - North Tower - Psych | Gr l outside ADHEC mechanical room | 761675 | F44671138 | CMHP-16 | ABC | 10LBS
Main - North Tower - Psych | 1st fl Mental Health IM4 by room 101 | 761309 | G16809104 | CMH1-01 | ABC | 10LBS
Main - North Tower - Psych | 1st fl Mental Health IM4 corr at stair 2 | 281830 | H07164652 | CMH1-02 | ABC | 5LBS
Main - North Tower - Psych | 1st fl Mental Health IM1 by room 117 | 281835 | H07164683 | CMH1-03 | ABC | 5LBS
Main - North Tower - Psych | 1st fl Mental Health IM1 corr at smk doors | 761746 | I17717032 | CMH1-04 | ABC | 5LBS
Main - North Tower - Psych | 1st fl Mental Health IM1 by room 130 | 761567 | F51150043 | CMH1-05 | ABC | 5LBS
Main - North Tower - Psych | Adjuctive therapies office | 761745 | I17713228 | CMH1-06 | ABC | 10LBS
Main - North Tower - Psych | 1st fl be restrooms for Center for Mental Health | 281831 | H07164564 | CMH1-07 | ABC | 5LBS
Main - North Tower - Psych | Gr fl Cancer Center hall to Cyberknife | 761317 | G15020365 | NTG-01 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Cyberknife lobby | 761310 | G16807135 | NTG-02 | ABC | 10LBS
Main - North Tower - Psych | Gr fl Cancer Center lobby | 761278 | G15022780 | NTG-03 | ABC | 10LBS
Main - North Tower - Psych | 1st fl N tower elv 34/35 lobby Pre-op holding waiting rm | 411695 | F70313471 | NT1-01 | ABC | 10LBS